PHYSICAL INPUTS NECESSARY TO IMPROVE GIRLS’ ACCESS TO SECONDARY EDUCATION

PROPOSED GIRLS SECONDARY EDUCATION PROJECT (TF055138)
REPUBLIC OF YEMEN

Preliminary Report
Nigel Wakeham

Consultant Architect
June 2007
Preliminary Report

Nigel Wakeham

Consultant Architect

June 2007

Table of Contents

Introduction









1
Consultant’s Terms of Reference





1
Meetings









1
Visits










1
Summary of Report







2
Review of Existing Secondary School Designs



2
Preliminary Recommendations for the Design and 
Construction of Secondary Schools




3
Preliminary Proposals for Standards for Teaching Facilities to be 
Provided at New and Renovated Secondary Schools


5
Selection of Schools to be Included in Proposed 
World Bank Girls’ Education Project




6
Strategies for Maximising the Use of Secondary 
School Facilities







6
Secondary School Construction Costs




7
Annexes:
Annex 1:
Review of Existing Secondary School Designs

And Preliminary Proposals for New Secondary 

School Construction






8
Annex 2:
Preliminary Proposals for Standards for Teaching



Facilities







23
Annex 3:
Selection Procedure for Schools to be 
Included in Proposed World Bank Girls’ Education 
Project







56
Annex 4:
Strategies for Maximising the Use of School 
Facilities







61
Annex 5:
Secondary School Construction Costs



65
Annex 6:
Consultant’s Terms of Reference




68
INTRODUCTION
The consultant visited the Republic of Yemen between May 28th and June 18th 2007.  This was the first of two visits and the main objective of the visit was to start the process of preparing the construction component of the proposed World Bank Girls’ Secondary Education Project.

The development objective of the proposed project is to ‘reduce the gender gap in secondary education while laying the basis for related improvements in the quality, relevance and efficiency of secondary schooling’.  The government’s current strategy for secondary education addresses the need to increase access for girls and develop more diverse, relevant and cost-effective curriculum options.

CONSULTANT’S TERMS OF REFERENCE
The overall objectives of the consultant’s missions are to: assess the current state of secondary school mapping, together with existing designs for secondary school facilities and the planning for physical inputs to enhance girls’ enrolment in secondary schools; provide the MoE with recommendations on interventions that are required to further enhance girls’ enrolment and assist with preparation of the construction component of the proposed project.  See Annex 6 for the consultant’s detailed terms of reference.
MEETINGS 
Meetings were held with: his Excellency Mr Abdulkarem Al-Jendari, Under Secretary, Projects and Equipment Sector, MoE; Mr Mansoor, Chairman, Technical Office, MoE; Mr Mohamed Al-Riashi, Consultant and Co-ordinator, Technical Office, MoE; Mrs Khadija Radman, Consultant, Technical Office, MoE; Dr Ayesha Mohammed, Consultant, Technical Office, MoE; Mr Khalid Jubary, Director General, Curriculum Development, Education Research Centre; Mr Mohamed Al-Sharafi, Director General, Project Design Directorate, MoE and civil engineering and architect members of his staff; Mr Abdul Rahman Samawi, Director General, School Mapping Directorate, MoE and members of his staff; Mr Jamal Al Haj, Manager, Information and Communication Department, MoE; Mrs Ayesha Vawda, Education Specialist, World Bank; Mr Shinsaku Nomura, Education Economist, World Bank; the preparation team for Component 1, Facilities and the following members of the team of consultants preparing the proposed project: Professor Mohamed Ragheb, Dr Leo Schellekens, Dr B. Marcos, Dr Adeleme Jones, Dr O. Georgeous, Dr Insaf Murshed, Mr Mohamed. Al-Khirbash, Mr Faraj Al-Matari.
Particular thanks go to Mrs Nada Abdulqader Baharoon of the Translation Unit, MoE for her assistance with translation.

VISITS
Somai Government Basic/Secondary School was visited, discussions were held with the school principal and the facilities were inspected.
SUMMARY OF REPORT
Review of Existing Secondary School Designs

Scope of Review

Designs for four typical secondary schools together with laboratory and furniture designs and designs for dry toilets were reviewed.  For details of the reviews see Annex 1.
Conclusions

The facilities provided at the different schools vary widely in terms of the numbers and type of facility and the size of the rooms.  There seems to be an over-provision of laboratories and of general classroom spaces.  In one school even the classroom size is different to that at the other schools.

The general classroom size at around 1.3m² per student for 30 students is slightly lower than in other, comparable countries and will not allow for the flexibility in furniture layout that might be required by different, more student centred and activity-based teaching methods.

It should be noted that none of the schools reviewed provide all of the facilities included in the MoE ‘Standard Criteria for School Mapping’.  

Some schools provide specific facilities for girls such as sewing rooms and home economic rooms but others do not.  None of the schools however make any physical separation between the facilities for boys and those for girls and all classes are therefore presumably mixed.

All schools provide multipurpose rooms but the numbers and sizes of these differ.  Two schools have information technology rooms but the others do not and only three schools have libraries.

The ratio of toilets provided to students differs from school to school and there appears to be no physical separation of boys’ and girls’ toilets.  

There is no provision of disabled toilets in any of the schools and in only one school is there an adequate ramp to allow access for wheel-chair users.

The present design for dry toilets is very expensive, poses a health threat to students and will not function properly.  
It should also be noted that while each school appears to have been designed to accommodate a specific number of students the facilities provided do not fully take into account the requirements of the curriculum and the timetable.    
All of the school designs offer inadequate or no protection to windows from sun penetration in their teaching and other spaces and parts of all the schools will be orientated to face east/west all of which means that students and staff will be very uncomfortable for large parts of the year.  

The designs of all the schools in terms of construction seem to be over-structured and over-complicated and ceiling heights are also generally very high.  All of these factors will add greatly to the cost of the buildings.

The furniture that is at present being used is out-dated, inflexible in use and uncomfortable and provides very little working space for the students.

The laboratories as presently designed are inflexible in use, make no distinction between biology, chemistry and physics and do not offer all of the services that will be required if teachers and students are going to carry out experiments.  

For further details of these conclusions and their implications for the design of future facilities see Annex 1.

Preliminary Recommendations for the Design and Construction of Secondary Schools

Recommendations

A number of recommendations are made based on the review of the school buildings above that encompass the following: 

· The design of schools to deal with future changes and the climate. 

· The construction of school buildings.

· The provision of separate facilities for girls and boys. 

· The provision of appropriate classroom furniture. 

· The servicing of the buildings.

· The provision of standardised facilities that are appropriate to the present curriculum but will also allow for future changes.

These recommendations are summarised below.  See Annex 2 for further details.

School Design

All new or renovated secondary schools should be provided with sufficient numbers of classrooms, specialist rooms, toilets and administration rooms to serve the current secondary school age population and space should be provided for future expansion.

All new secondary schools should provide easy access for disabled students and provide at least one disabled toilet for boys and one for girls.

It is very important that the designs for new facilities allow for short-term flexibility to allow for different teaching methods, furniture layouts, etc and for long-term adaptability to allow for future changes in curricula, etc.
All new secondary school facilities should be able to cope adequately with the climate found in all parts of the country at all times of the year  and all buildings should if at all possible face north/south to reduce the incidence of sun penetration into rooms and improve comfort for the occupants.  

.
School Construction

Construction costs in recent years have been driven up by, among other things, a combination of falling exchange rates and increasing world fuel, steel and cement prices.  It is essential therefore that all secondary school facilities are designed with the goal of reducing construction costs and they should therefore be as simple and economic to construct as possible.  

Separate Facilities for Girls and Boys

In order to encourage the enrolment of more girls into secondary education it is important that secondary schools offer separate facilities for boys and girls.  

This can be done in a variety of ways by for instance having double shifts with girls attending in the mornings and boys attending in the afternoons and/or by having separate general classrooms for girls and boys but with both sexes using specialised facilities such as laboratories at different times.  

Furniture

Classroom furniture as presently being supplied is very uncomfortable, provides very little space for the students to work on and is very inflexible in use.  It is proposed therefore that a more flexible type of furniture is used consisting of loose tables and chairs.  
Services

Some basic recommendations are made for the provision of services in secondary schools. 

Standardised School Facilities

A variety of facilities are required by secondary schools but at present there seems to be very little standardisation in either the sizes of the various facilities, such as classrooms, laboratories, etc that are being provided or in the number and variety of the facilities being provided.  

It is proposed therefore that the facilities to be provided in all secondary schools are standardised both in design, size and number.  The number of facilities to be provided should only change because of differing numbers of students.

Further details of all of these recommendations are given in Annex 1.
Preliminary Proposals for Standards for Teaching Facilities to be Provided at New and Renovated Secondary Schools

Background to the Proposals

The design of school facilities in any country is obviously closely linked to the curriculum, teaching methods, budgetary conditions and class sizes and careful consideration has therefore been given to all of these factors.

Yemen’s current economic and social situation and the existing condition of school facilities have also been taken into consideration when developing the proposals for facilities. 

Technical criteria for secondary school teaching facilities have been identified that meet the requirements of the existing curriculum and that will hopefully also meet the requirements of new curricula and teaching methods as they are introduced. 

Proposed Facilities for Secondary Schools

The following proposals for facilities for secondary schools are based upon the criteria described in Annex 2.  The existing curriculum and teaching methods and possible new teaching methods have also been taken into account together with standards for similar facilities in other countries.

One of the main objectives in preparing these proposals has been to reduce the cost of construction or renovation by maximizing the use of all facilities, by restricting the number of specialized facilities and by maximizing the flexibility in use of all facilities.

A class size of 40 students has been taken as standard in order to reduce construction costs and the cost of providing teachers and all of the room sizes indicated below relate to this figure.  

All of the new facilities to be provided by the proposed project should have a useful life of at least 30 years and during this time the curricula will undoubtedly change.  As new curricula are introduced very different kinds of teaching methods than those in use at present will probably be required that are more student-centred and activity-based.

The proposals for the new facilities outlined below take all of these factors into account and allow as much as possible for both short-term flexibility in the use of the new facilities and long-term adaptability to allow for future changes.  The renovation of existing facilities is also covered.

For more details of all the recommendations for the construction of new and the renovation or existing facilities (including sketch layouts for the various facilities that have been proposed) and for comparisons with current standards, see Annex 2.

Selection of Schools to be Included in Proposed World Bank Girls’ Education Project

Before any schools can be selected to be included in the proposed World Bank project a process has to be undergone consisting of a number of steps:

· The existing situation in all secondary schools in the country must be established in terms of their location, their current and projected enrolment; the existing facilities at each school and their condition, the site conditions, etc

· Criteria will then have to be developed on the basis of which schools to be included in the project can be selected

Once a short-list of schools that would qualify for inclusion in the project has been established, a preliminary cost estimate can be prepared for the replacement, renovation and extension of each school on the short-list.  It will then be possible to establish the number of schools that can be renovated, replaced and extended within the proposed budget for the project and a preliminary list of schools to be included in the project can be prepared.

Having established a preliminary list of schools to be included in the project, detailed proposals, including costings will have to be prepared for each school and a final list of schools to be included in the project can be established.  

For further details of all steps in this process, see Annex 3.

Strategies for Maximising the Use of Secondary School Facilities

The Republic of Yemen is currently suffering a severe shortage of secondary school places particularly for girls.  There is a further problem in that many of the existing secondary schools require minor or major renovations and the addition of extra facilities or even replacement.    

It is important therefore that the use of any schools that it is proposed to replace, renovate or extend under the proposed World Bank Girls’ Education Project is maximised in order to make it possible to include as many schools as possible in the project and to make the best use of limited resources.

In this context, there would appear to be two ways of maximising the use of both existing and any proposed new or renovated schools: 

· by rotating the use of all teaching spaces (even of some specialised rooms such as laboratories) that is by using all teaching spaces for teaching any subject and thus fully utilising them

· by using schools for both morning and afternoon shifts i.e. double-shifting
The use of these options and their effect on the design and provision of secondary school facilities are discussed in detail in Annex 4.

Secondary School Construction Costs
Construction costs in general and construction costs for secondary schools in particular are discussed in Annex 5.  

Cost estimates for a number of example schools are also given based on estimates for the latest construction costs for secondary schools provided by engineers in the Project Design Directorate and on the use of the proposed facilities described in Annex 2.  See Annex 5 for details.
Annex 1: 
Review of Existing Secondary School Building Designs and Preliminary Proposals for New Secondary School Construction 

Introduction
Designs for four secondary schools were reviewed: 1) a three-storey, 19-classroom school for mountainous regions; 2) a four-storey, 12-classroom school for mountainous regions; 3) a three-storey, 12-classroom school for mountainous regions and 4) a two-storey, 12-classroom school for coastal regions.  The buildings for the four schools differ in design but all are constructed of reinforced concrete frames with rendered brick or block infill walls and reinforced concrete floors and roofs.  One of the schools has classrooms of a different size to the other schools.  It is understood that there are many other designs for secondary schools in use but time constraints meant that there was only time to review these four designs.

The existing standard laboratory design (which is currently being modified) was reviewed and details of this review are given below.  

The design for the proposed ‘dry’ toilet was also reviewed and details of this review are given below.

Some notes are also included on furniture design as the design and layout of furniture is fundamental to determining the optimum design of the classroom.

Conclusions are drawn from the review of school buildings designs and furniture and preliminary proposals are made for the design and construction of secondary schools and school buildings in the future.

Facilities to be Provided for Secondary Schools
The MoE ‘Standard Criteria for School Mapping’ sets out the standard accommodation to be provided for secondary schools.  This states that the minimum size secondary school should have two 10th grade entry streams with one classroom each.  In the 11th grade the streams split into two groups, one studying Arts and the other studying Science and this continues in the 12 grade.  Therefore in the 11th and 12th grades the two science groups combine to form one class and the two arts groups combine to form one class giving a total of six classrooms for the three grades.  The document states that other teaching facilities as well as general classrooms should be provided such as a library/education resources room, a multipurpose room, a chemistry laboratory, a biology laboratory, a computer/languages room and a room for girls activities (presumably such as a home economics room).  No recommendations are made for the provision of separate facilities for boys and girls.
The document also sets out the area per student (1.3m²) for general classrooms which gives an area per classroom of 39m² for 30 students and of 52m² for 40 students.

Although this document states in general terms what facilities are required at different sizes of schools, it does not give a breakdown of facilities required in order to teach the existing curriculum.  Attachment 1 gives such a breakdown for a 4-stream entry secondary school and this is compared to the accommodation provided at the schools reviewed.

Review of a Sample of Existing Secondary School Building Designs

Four-storey, 12-Classroom Building
This is a 12-classroom school presumably designed for a 4-stream intake.  The General Classroom size is 5.7 x 7 metres giving an area of 39.9m² and presumably the classrooms have been designed to accommodate 30 students according to the above MoE criteria.  This gives a total student population of 360 pupils (four classes of 30 x 3 years = 360). 
The building is L-shaped constructed on four stories with one access staircase.  On the ground floor there are three General Classrooms (5.7 x 7 metres), a Chemistry Laboratory (10.1 x 7 metres) with a Preparation Room attached, a Principal’s Office (7 x 7 metres), a Teachers’ Room (7 x 7 metres) and 3 Toilets and a small Store.  On the first floor there are three General Classrooms (5.7 x 7 metres), a Physics Laboratory (10.1 x 7 metres) with a Preparation Room attached, a Home Economics Room (7 x 7 metres), a Multipurpose Room (7 x 7 metres) and 3 Toilets and a small Store.  On the second floor there are three General Classrooms (5.7 x 7 metres), a Multipurpose Room (10.1 x 7 metres) with a Store attached, a second Home Economics Room (7 x 7 metres), a Languages Room (7 x 7 metres) and 3 Toilets and a small Store.  

There are therefore a total of 11 general teaching rooms (including multipurpose rooms), 2 laboratories, 2 home economics rooms and 1 languages room.  Attachment 1 sets out the number of general classrooms (12) and laboratories (1) required for teaching the existing curriculum to a 4-stream intake secondary school where there is no separation between girls and boys and it can be seen therefore that if the languages room is included there are adequate numbers of general teaching rooms and 1 laboratory too many for the numbers required to teach the full curriculum.  There is also no library or IT room.  It should be noted that while home economics is not specifically a time-tabled activity it could be included under the ‘activities’ heading in the curriculum.

There are a total of 12 toilets (giving a toilet: student ratio of 1:30) but it is not clear what toilets are for staff use, what are for the use of students and what are for boys and what are for girls.  There are no disabled toilets shown on the drawings.
The design of the building is fairly simple and straightforward although the window design is quite complicated and expensive.  As noted above, the building is designed as an L-shape and because of this at least one wing will be facing east/west.

In tropical areas it is always wise to orientate buildings so that the window walls face north/south in order to minimise the amount of sunshine hitting walls and the amount of solar penetration into rooms.   This is especially important if school buildings are going to be used for two shifts, one in the afternoon.  Any buildings facing west will become very hot in the afternoons because of solar penetration into the rooms reducing the teachers’ ability to teach and the students’ ability to concentrate.  Some students will also be sitting in direct sunlight.  It should be noted that the windows are on the face of the building and there is no protection for them from the sun in the form of overhangs or louvres. 

The ground floor is at one level 60 cm above ground level and there are no ramps shown on the drawings making disabled access difficult.  There are no toilets for disabled use.  All floor-to-floor heights are the same at 3.5 metres.
Three-storey, 12-Classroom Building
This again is a 12-classroom school presumably designed for a 4-stream intake.  The General Classroom size is 5.7 x 7 metres giving an area of 39.9m² and presumably the classrooms have been designed to accommodate 30 students according to the above MoE criteria.  This gives a total student population of 360 pupils (four classes of 30 x 3 years = 360).

The building is L-shaped constructed on three stories with two access staircases.  On the ground floor there are four General Classrooms (5.7 x 7 metres), a Chemistry Laboratory (10.1 x 7 metres) with a Preparation Room attached, two Administration Rooms (7 x 7 metres) and 3 Toilets and a small Store.  On the first floor there are four General Classrooms (5.7 x 7 metres), a Laboratory (10.1 x 7 metres) with a Store attached, two Multipurpose Rooms (7 x 7 metres) and 3 Toilets and a small Store.  On the second floor there are four General Classrooms (5.7 x 7 metres), a Laboratory (10.1 x 7 metres) with a Store attached, a Multipurpose Room (7 x 7 metres), a Multipurpose Room (9.9 x 8.9 metres) and 3 Toilets.  

There are therefore a total of 16 general teaching rooms (including multipurpose rooms) and 3 laboratories and again using the calculations set out in Attachment 1 it can be seen that, if there is no separation between boys and girls, t there are 4 classrooms and 2 laboratories too many for those required to teach the full curriculum.  There is also no library, IT room, language room or any rooms specifically set aside for girls’ activities.  

There are a total of 9 toilets (giving a toilet: student ratio of 1: 40) but it is not clear what toilets are for staff use, what are for the use of students and what are for boys and what are for girls.  There are no toilets shown on the drawings for disabled use.
The design of the building is similar to the previous design but is made more complicated (and therefore more expensive) by a number of unnecessary setbacks and the same comments as before apply to the window design.   

As noted above, the building is designed as an L-shape and again because of this at least one wing will be facing east/west and the comments on the previous design on solar penetration again apply here.  It should be noted again that the windows are on the face of the building and there is no protection for them from the sun in the form of overhangs or louvres. 

The ground floor is at one level 75 cm above ground level and ramps are shown on the drawings making disabled access possible.  All floor-to-floor heights are the same at 3.6 metres.
Two -storey, 13-Classroom Building
This is a 13-classroom school presumably designed for a 4-stream intake with one extra classroom.  The General Classroom size is 5.2 x 7.7 metres giving an area of 40m² and presumably the classrooms have been designed to accommodate 30 students according to the above MoE criteria.  This gives a total student population of 360 pupils (four classes of 30 x 3 years = 360).

The building is constructed around a courtyard on two-stories with buildings on all four sides connected at the corners and with three access staircases.  On the ground floor there are twelve General Classrooms (5.2 x 7.7 metres), a Chemistry Laboratory (9 x 7 metres) with a Preparation Room attached, a large covered entrance, another larger covered area and 5 Toilets.  On the first floor there is one General Classroom (5.2 x 7.7 metres), a Multipurpose Room (9 x 7 metres) with a Toilet attached, a Multipurpose Rooms (8.5 x 15.6 metres), a Library (5.2 x 12.45 metres) with a Office/Store attached, a Home Economics Room (5.2 x 11.65 metres) with a Store attached, a Sewing Room (5.2 x 12 metres) with a Store attached, a Principal’s Office (5.2 x 7.7 metres), a Deputy Principal’s Office (5.2 x 3.75 metres), a Secretary’s Office (5.2 x 3.75 metres), a Physics Laboratory (5.2 x 12 metres) with a Prep Room attached, an IT Room (5.2 x 12 metres) with a Store attached and 5 Toilets and a small Store.  On the second floor there are four General Classrooms (5.7 x 7 metres), a Multipurpose Room (10.1 x 7 metres) with a Store attached, a Multipurpose Room (7 x 7 metres), a Multipurpose Room (9.9 x 8.9 metres) and 3 Toilets.  

There are therefore a total of 15 general teaching rooms (including multipurpose rooms), 2 laboratories, 1 IT room, 2 home economics rooms and a library and again using the calculations set out in Attachment 1 it can be seen that, if there is no separation between girls and boys there are 3 classrooms and 1 laboratory too many for those required to teach the full curriculum.  There is also no languages room.

There are a total of 9 toilets (giving a toilet: student ratio of 1: 40) but it is not clear what toilets are for staff use, what are for the use of students and what are for boys and what are for girls.  There are no toilets shown on the drawings for disabled use.
The design of the building is fairly simple and straightforward but the same comments apply to the window design as to the previous buildings.   As noted above, the school is built round a courtyard and has buildings on all four sides and therefore two sides will be facing east/west and the comments on the previous designs on solar penetration again apply here.  There are projecting concrete surrounds to the sides and tops of the windows but these are too small to give very much protection from the sun especially to the parts of the building that will face east or west.  

The ground floor is at one level 90 cm above ground level and some very short ramps are shown on the drawings.  Unassisted wheel-chair access would probably not be possible as the ramps are too steep.  Floor-to-floor heights are the same on both floors at 4.2 metres which seems excessively high.
Three-storey, 19-Classroom Building
This is a 19-classroom school presumably designed for a 6-stream intake with one extra classroom.  The General Classroom size is 5.7 x 7 metres giving an area of 39.9m² and presumably the classrooms have been designed to accommodate 30 students according to the above MoE criteria.  This gives a total student population of 540 pupils (six classes of 30 x 3 years = 540). 
The building is L-shaped constructed on three stories with one access staircase.  On the ground floor there are five General Classrooms (5.7 x 7 metres), two Laboratories (10.5 x 6.9 metres) with two Preparation Rooms attached, a Principal’s Office (4.5 x 3.5 metres), an Administration Office (5.7 x 3.5 metres), a Teachers’ Room (5.7 x 3.5 metres) and 8 Toilets and two small stores, one of which is accessible from the Teachers’ Room.  On the first floor there are seven General Classrooms (5.7 x 7 metres), a Multipurpose Room (10.5 x 6.9 metres) with an attached Store, a Library (10.5 x 6.9 metres) with an attached Store, four Toilets and a small store.  On the second floor there are a further seven General Classrooms (5.7 x 7 metres), an IT Room (10.5 x 6.9 metres), a Multipurpose Room (10.5 x 6.9), four toilets and a small store.

The school therefore has a total of 21 general teaching spaces (including the multipurpose rooms), 2 laboratories, an IT room and a library.  According to the criteria set out in Attachment 1, a school of this size with no separation of girls and boys should however have a total of 15 general teaching spaces giving a surplus of 6 teaching spaces and 1 laboratory.  There are also no languages rooms or any rooms specifically set aside for girls’ activities.

There are a total of 16 toilets (giving a student: toilet ratio of 1:34 if the student population is 540) but it is not clear what toilets are for staff use, what are for the use of students and what are for boys and what are for girls.

The design of the building is fairly simple and straightforward although the window design is quite complicated and expensive.  As noted above, the building is designed as an L-shape and because of this at least one wing will be facing east/west and the comments on the previous designs on solar penetration again apply here.  It should be noted again that the windows are on the face of the building and there is no protection for them from the sun in the form of overhangs or louvres. 

The ground floor is set at two levels: the entrance level is 60 cm above ground level and the two Laboratories are at this level; the main classroom wing is 60cm above this level.  There are no ramps shown on the drawings and the different levels would make disabled access difficult and there are also no toilets for disabled students use.

Because of the different ground floor levels and because both wings are at the same level on the first floor, the ceiling height of the Laboratories is 60 cm higher than that of the general classrooms.  Ground to first floor heights are therefore 4.2 metres and 4.8 metres and first to second floor and second floor to roof heights are 3.6 metres.  Ceiling heights are therefore very high.

Standard Laboratory Design
The standard laboratory design consists of two laboratories (10.7 x 6.95 metres) with two preparation rooms (5.25 x 3.4 metres) set between them.  The laboratories have the entrance doors and windows on the short walls of the rooms and because of this the light levels in the centre of the laboratories must be low.  

Each laboratory has a teacher’s demonstration bench with a sink set on a slightly raised dais immediately inside the double entrance doors.  There are five students’ benches (approximately 3.3 x 0.9 metres) each with a sink in the middle and places for eight students giving each laboratory a teaching capacity of 40 students.   Each laboratory has a fixed bench on the short walls at the ends of the rooms.  

The student benches are fixed giving no flexibility in the layout.  Some students will have their backs to the teacher and the chalkboard making note-taking and observation of any experiments carried out by the teacher at the demonstration bench difficult.  There is also very little space for the students to gather round the teacher’s demonstration bench to watch experiments.

There is a fume cupboard in each laboratory next to the entrance doors.  The fume cupboards are built of rendered block or brick with a glazed sliding sash window at the front for access and observation of experiments.  Each fume cupboard is tiled internally and has a sink and an extract fan and light at high level.  There is therefore no access to the fume cupboards from the preparation rooms and there is very little space for students to stand round the fume cupboard to observe experiments because of the layout of the benches and also because the side walls of the cupboard are solid thus blocking the view of any experiments.

Walls to the laboratories are tiled up to approximately 1.5 metres high and all benches are tiled on their top surfaces (at a secondary school visited in Sana’a, all of these worktop tiles had broken off leaving a rough surface).

The preparation rooms have access from each laboratory and have fixed benches on their long walls with double sinks to the bench adjacent to the laboratory.

All water and drainage pipes are buried in or are under the floor slab making access in case of leaks extremely difficult (although there are a number of floor outlets).  There appears to be no fixed gas supply to either the laboratories or the preparation rooms and it is not clear therefore how experiments requiring heat are carried out.  

‘Dry’ Toilets
The existing design for ‘dry’ toilets for use at schools where there is not a dependable water supply has four toilets raised 1.8 metres above the ground and access is by steps or a ramp.  

One version of the design has a separate disabled toilet which is wider than the other three.  There are however some problems with this toilet as the ramp is too steep to allow self-propelled wheelchair access, there is very limited turning space for a wheelchair at the top of the ramp into the toilet, the toilet door is too narrow for a wheelchair and the actual toilet is the squatting type which a disabled student is unlikely to be able to use.

There are also other problems with the design of the toilets.  The toilets are raised above a pit which has two openings for emptying.  There are however no doors on these openings meaning that the pit is open creating most un-hygienic conditions and probably threats to the health of students!  The structure of the toilets is also very heavy and expensive and the provision of squat pans is unnecessary.

Dry toilets of various types have been used extensively and successfully in many tropical countries.  There are various types but most have underground pits or if the pits are above ground they are sealed.  In most types the pit is ventilated to assist the breakdown of the waste and some have two pits so that one can be in use while the contents of the other pit are breaking down.

Further details of dry toilets will be brought out on the next mission.

Furniture
Classroom design should start with the number of students to be accommodated and the size and layout of the furniture.   These factors will dictate both the size and the proportions of the classroom.  
The student desks that are at present being used in classrooms consist of bench-tops 120 cm long by approximately 40 cm wide with a fixed backless bench attached for seating.   The overall size of the desks (for two students) is 120 x 90 cm and they must be uncomfortable for the students to sit at for long periods and therefore not conducive to work or concentration.  They are also very inflexible in use and can in fact really only be used in one way: arranged in rows facing the teacher.  If some of the aims of the project are to introduce more active, student-centred teaching methods and improve both teaching and learning then more flexibility in the way that the furniture can be arranged and used in the classroom is essential.

Conclusions
The facilities provided at the different schools vary widely in terms of the numbers and type of facility and the size of the rooms.  There also seems to be an over-provision of laboratories (which are expensive facilities to provide) and a general over-provision of general classroom spaces (this assumes that classrooms are rotated ie used for teaching any type of lesson).  There seems to be no real reason for this as all schools are teaching the same curriculum and the facilities provided should vary only in accordance with the number of entry-streams and the numbers of students.  This applies to both teaching and administrative facilities.  In one school even the classroom size and proportions are different to the other schools.

The general classroom size at around 1.3m² per student for 30 students is slightly lower than in other, comparable countries and will provide crowded conditions for students and not allow for much flexibility in furniture layout that might be required by different, more student centred and activity-based teaching methods.

It should be noted that none of the schools provide all of the facilities included in the MoE ‘Standard Criteria for School Mapping’ as set out above.

Some schools provide specific facilities for girls such as sewing rooms and home economic rooms but others do not.  None of the schools however make any physical separation between the facilities for boys and those for girls and all classes are therefore presumably mixed.

All schools provide multipurpose rooms but the numbers and sizes of these differ and it is unclear, in terms of the curriculum, for what function(s) it is intended that these rooms are used.  Two schools have information technology rooms but the others do not.  Three schools have libraries but the others do not.

The numbers of toilets provided (and the ratio of toilets to students) differs from school to school and there appears to be no physical separation of boys and girls toilets.  

There is no provision of disabled toilets in any of the schools and in only one school is there an adequate ramp to allow access for wheel-chair users.

The present design for dry toilets is very expensive, poses a health threat to students and will not function properly.  Guidelines for improving the design of the toilets will be provided in the next report but it should be borne in mind that these toilets require proper management and training will have to be given to school staff in the proper use of the toilets if they are to be used successfully.

It should also be noted that while each school appears to have been designed to accommodate a specific number of students and entry streams, the facilities provided, as noted in the reviews above, do not fully take into account the requirements of the curriculum and the timetable as set out in Attachment 1.  
All of the school designs offer inadequate or no protection to windows from solar penetration in their teaching and other spaces and parts of all the schools will be orientated to face east/west.  All rooms are therefore bound to have the sun shining into them in at some point in the morning and in the afternoons and if the schools run two shifts, the classrooms will be very uncomfortable in the afternoons for both teachers and students and not conducive to learning.

The designs of all the schools in terms of construction seem to be over-structured and over-complicated especially with regard to the window design.  Floor-to-floor and ceiling heights are also generally very high.  All of these factors will add greatly to the cost of the buildings.

The furniture that is at present being used is out-dated, inflexible in use (in that it only allows for one furniture layout) and uncomfortable and provides very little working space for the students.

The laboratories as presently designed are inflexible in use and make no distinction between biology, chemistry and physics and do not offer all of the services (such as gas) that will be required if teachers and students are going to carry out experiments.  

It will be very difficult for students to gather round either the teacher’s demonstration bench or the fume cupboard to watch experiments and it will be difficult for some students to watch demonstrations at the teacher’s desk or to take notes as they will be seated with their backs to the teacher.

Services in the laboratories are provided in or under the floor slab and will be difficult to locate for repairs or upgrading.  No built-in gas supply is provided for bunsen burners either for the teacher, the preparation room, the fume cupboard or the students.

The lighting in the laboratories is likely to be poor in the centre of the room because of the position of the windows.

Preliminary Recommendations for the Design and Construction of Secondary Schools
A number of recommendations are made based on the review of the school buildings above that encompass the following: 

· The design of schools to deal with future changes and the climate. 

· The construction of school buildings.

· The provision of separate facilities for girls and boys (in order to encourage more girls to enter secondary education). 

· The provision of appropriate classroom furniture. 

· The servicing of the buildings.

· The provision of standardised facilities that are appropriate to the present curriculum but will also allow for future changes.

Further details of the proposed facilities to be provided in future secondary schools are given in Annex 2.

School Design

All new or renovated secondary schools should be provided with sufficient numbers of classrooms, specialist rooms, toilets (flush or dry) and administration rooms to serve the current secondary school age population and space should be provided for future expansion.  Provision should also be made for a water supply and for all external works including stormdrains, septic tanks, soakaways, paths, entrance roads, walls, gates and landscaping.

All new secondary schools should provide easy access, probably in the form of ramps for disabled students and provide at least one disabled toilet for boys and one for girls.

It should be borne in mind when designing new facilities for secondary schools that any new buildings should have a useful life of at least 30 years and during this time both the teaching methods used and the subjects taught will undoubtedly change as will such things as the servicing requirements of the buildings.  New curricula will be introduced and some will undoubtedly demand very different kinds of teaching methods than those in use at present and be more student-centred and activity-based.

It is very important therefore that the designs for new facilities take both these factors into account and allow for short-term flexibility in the use of the new facilities to allow for different teaching methods, furniture layouts, etc and for long-term adaptability to allow for future changes in curricula, etc.

An important concept to be considered when designing for long-term change is that of ‘loose fit, long life’.  Designing in some additional space in classrooms initially can give great benefits over the long term; the extra initial cost is far outweighed by the savings made later when changes have to be made.  Classroom spaces should not therefore be designed to fit exactly a given curriculum or teaching method as this could prevent future changes.

All new secondary schools should be able to cope adequately with the climate found in all parts of the country at various times of the year: with the hot, humid conditions found along the coast; with the dry but very hot conditions found in the desert areas to the east of the country and with the tropical but variable conditions found in the mountainous areas.

All facilities should be designed to be only one room deep with large windows on either side that can be opened during the hot season and closed in those areas where there is a cold season.  These windows will give good cross-ventilation and good overall natural lighting.  Access to all rooms should be from open verandas or balconies on one side to allow for cross-ventilation.  Ceilings should be high but not overly so as this will greatly increase costs.

It is very important in tropical countries to orientate all buildings to face north/south if at all possible as this will reduce the incidence of solar penetration into rooms and thus improve comfort for the occupants.  

All rooms should preferably face north to further reduce solar penetration but there will however still be some sun penetration into the rooms at some point in the day unless protection is given to the windows in the form of external projections over the windows, external louvres, etc and some sort of protection should be provided.

School Construction
Construction costs in recent years have been driven up by, among other things, a combination of falling exchange rates and increasing world fuel, steel and cement prices.  It is essential therefore that all secondary school facilities are designed with the goal of reducing construction costs and they should therefore be as simple and economic to construct as possible.  

The building structure especially for multi-storey buildings while taking into account local traditions should be as simple as possible and window design in particular should be simplified with, as stated above some external protection for the windows from the sun.  

All buildings should be designed to reduce maintenance costs.

Floor-to-floor heights should be standardised at an acceptable minimum, possibly 3.2 metres.

Single-storey structures should be designed to be constructed as far as possible of local materials.  Multi-storey structures should be designed to be constructed of a simple, economic reinforced concrete frame with hollow concrete blocks or if more economic, local materials used for walls and infill panels.

All facilities should if possible be designed to fit within a standard structural module that will enable different types and numbers of facilities to be simply provided at different schools in order to accommodate different student numbers, etc.  
A possible module would consist of structural bays 2.75 metres wide centre to centre and 7.2 metres deep centre to centre which would give a clear internal width of 7.0 metres.  This is the minimum width required to accommodate four 1200mm wide double desks with an 800mm wide centre aisle and two 700mm wide side aisles in a general classroom (see furniture below).  This width of aisle will give reasonably easy access to desks for students and provide for escape in case of fire.

This module would be economic to construct and the bay width of 2.75 metres will accommodate a variety of sizes of facility such as offices and storage spaces (one bay), small classrooms and teachers’ rooms (two bays), standard classrooms (three bays), large classrooms, IT rooms and laboratories (all four bays).  For details of proposed classrooms and other facilities, see Annex 2.

Separate Facilities for Boys and Girls
In order to encourage the enrolment of more girls into secondary education it is important that secondary schools offer separate facilities for boys and girls.  

This can be done in a variety of ways by for instance having double shifts with girls attending in the mornings and boys attending in the afternoons or by having separate general classrooms for girls and boys but with both sexes using specialised facilities such as laboratories at different times.  

Whichever system is used (and a mixture of both will probably be the most efficient in terms of use of facilities) it is important that: general facilities for boys and girls are physically separate; that separate entrances are provided for boys and girls; that adequate numbers of separate toilets (see below) are provided for girls that are located away from the boys’ toilets and that adequate protected and walled recreation space is provided for the girls. 

A further possibility for encouraging the enrolment of more girls into secondary schools could be the construction of small dormitories for the use of girls from more remote areas who cannot otherwise attend secondary schools.  These dormitories would have to include semi-private sleeping areas as well as cooking, eating and study areas for the girls.  It is suggested that the proposed project could trial the construction of dormitories in a few schools in areas where it is considered that it might work.

School Furniture
Classroom furniture as presently being supplied consists of double desks 400 or 450mm deep with attached backless benches.  This type of furniture is very uncomfortable, provides very little space for the students to work on and is very inflexible in use i.e. it can only be used for traditional lecturing by the teacher from the front of the class.

It is proposed therefore that a more flexible type of furniture is used consisting of loose tables and chairs.  In general classrooms the tables would be, because of the limited space available, 1200 wide x 500 deep x 700/750mm high.  In large classrooms, etc where more space is required for practical work they would be 1200 wide x 600 deep x 700/750mm high.  In the science classrooms they would be similar but 850mm high.

This sort of furniture can be combined and used in a variety of ways, will give teachers much more flexibility in the use of all classrooms and will also give much more flexibility over the life of the buildings.

Services
No services are shown on the drawings reviewed apart from that for the laboratory.  It is considered important however to set out some basic recommendations for the provision of services in secondary schools as the facilities provided should have a life span of 30 years or more and the servicing requirements are likely to change greatly over this period of time. 

The recommendations are as follows: 

· All teaching spaces should have adequate numbers of electrical outlets.

· The use of computers and audio-visual teaching aids is becoming more and more important especially at secondary level and all teaching spaces should if possible be serviced for the use of these or allow for future servicing.

· If computers are provided then they should be networked either in local area networks within parts of the school or in whole school networks.

· Spaces used for practical subjects should be provided with water supplies and sinks.

· Science classrooms should be provided with electrical, water and gas supplies and fume cupboards if required (they will not be required in physics Laboratories).  The services should run along walls where possible to allow for easy access, repair and upgrading and not in the floor where access is more difficult.  Some benches such as teacher’s benches will however require service ducts run in the floor and these should be made large enough and easily accessible to allow for repairs and maintenance.

· Proper provision should be made in all science classrooms for the safe disposal of chemicals used for experiments. 

· The method of distribution of all services should allow the appropriate range of activities to take place conveniently and safely and should allow easy access for cleaning and maintenance and for changing and upgrading the services over the life of the building. 
It should also be noted that it is important to co-ordinate services distribution and furniture and equipment layouts early in the design process.

Standardised School Facilities
A variety of facilities are required by all secondary schools but at present there seems to be very little standardisation in either the sizes of the various facilities, such as classrooms, laboratories, etc that are being provided or in the number and variety of the facilities being provided.  Some schools for instance have libraries and others do not; some have large multipurpose rooms and other have smaller ones, etc. 
It is proposed therefore that the facilities to be provided in all secondary schools are standardised in design, size and number.  The number of facilities to be provided should only change because of differing numbers of students.

It is suggested that the facilities to be provided eventually at all secondary schools will be as follows; the actual number and mix of facilities will depend on the total enrolment of the school and the numbers of boys and girls: 

· Adequate facilities for the staff of the school in the form of offices, stores, teachers’ rooms, etc.  The actual number and type will depend on the size of the school.

· General classrooms for 40/44 students with an area of approximately 1.4m² per student; the number will depend on the total enrolment of the school.  There should be separate provision for girls and boys.

· Large classrooms (to replace multipurpose rooms) approximately one quarter larger than general classrooms to be used for practical subjects or for project work with separate provision for girls and boys.

· Small classrooms approximately one third smaller than general classrooms to cater for smaller classes in Grades 11 and 12 and for small group work with separate provision for girls and boys.

· Science laboratories to be used for teaching all science subjects.  The laboratories to be used by girls and boys at different times.

· Libraries or library/resource centres depending on the size of the school.  Part of the library/resource centre could initially be used for teaching IT.  The libraries or library/resource centres to be used by girls and boys at different times.

· IT classrooms; these will only gradually be introduced as funding and servicing allows.  The IT classrooms where provided to be used by girls and boys at different times.

· Adequate numbers of toilets at a minimum ratio of 1: 40 students (with separate toilets for boys and girls) and a reliable drinking water supply.  Where adequate water for toilets is not available then dry toilets should be constructed separated from the main buildings.

· Separate recreation areas for boys and girls with sheltered and protected areas for girls.

· Girls’ dormitories at selected schools on a pilot basis.

A range of standardised designs for school buildings should be developed that can be used in a variety of locations, that can be put together for new schools of various sizes or that can be used individually or in groups for additions to existing schools.  It should be possible however to orientate all buildings north/south to reduce sun penetration into rooms and some form of protection from the sun should be provided to all windows.  The number of staircases to be provided in multi-storey schools will depend on the height of the buildings, the length of the access verandas and the number of students.

Proposals for the standardised facilities to be provided at future secondary schools are given in Annex 2.

Attachment 1: Teaching Facilities Required for Teaching the Existing Curriculum at a 4-Stream Intake Secondary School*
Example school: 4 streams of 3 grades, each class with 40 students.  

	Subject
	Periods per Subject per Week per Stream

	
	Grade 10 
	Grade 11
	Grade 12 

	General Studies
	Combined
	Science


	Arts


	Science 


	Arts



	Holy Quran
	2
	2
	3
	2
	2

	Islamic Studies
	4
	3
	4
	3
	4

	Arabic
	6
	6
	8
	6
	8

	History
	2
	
	3
	
	3

	Geography
	2
	
	3
	
	4

	Community Studies
	1
	
	
	
	

	Social Science
	
	
	2
	
	

	Economics
	
	
	2
	
	

	Psychology
	
	
	
	
	3

	Philosophy
	
	
	
	
	3

	Maths
	5
	8
	
	8
	

	Statistics
	
	
	2
	
	2

	English
	5
	5
	6
	5
	6

	Arts
	1
	1
	1
	1
	

	Activities
	1
	1
	2
	1
	1

	Biology
	2.83
	2.83
	
	2.83
	

	Chemistry
	1.67
	2.5
	
	2.5
	

	Physics
	1.67
	3.67
	
	3.5
	

	General Study Periods/Week
	35.17
	35
	36
	34.83
	36 

	Total General Study Periods/Week 
	177

	Numbers of General Classrooms required:

Total periods per single stream per week = 177 ÷ 36 = 4.9/5 classrooms
Total periods/four streams/week = (35.17 x 4) + ((35 + 36 + 34.83 + 36) x 4) ÷ 2** = 424.34 
424.34 periods ÷ 36 periods/week = 11.78/12 General Classrooms**

	Science (numbers of periods students spend in laboratories)
	

	Biology
	5 period/year
	5 period/year
	
	5 period/year
	

	Chemistry
	10 period/year
	15 period/year
	
	15 period/year
	

	Physics
	10 period/year
	10 period/year
	
	15 period/year
	

	Science Periods/Week
	25 period/year

.83 period/week***
	30 period/year

1 period/week***
	
	35 period/year

1.17 period/week***
	

	Total Science Periods/Week Spent in Laboratories
	3

	Number of Science Laboratories required :
Total science periods single stream/week = 3 x 4 streams = 12 periods

12 periods ÷ 36 periods/week = 0.3/1 Science Laboratory required
	

	Total Number/ Periods/Stream
	36
	36
	36
	36
	36


*Note: This takes no account of the need to provide separate teaching rooms for girls which will increase the numbers required.

**Note: If there are single or odd numbers of streams, more classrooms will be required as it will not be possible to join two half-classes together as is possible with even numbers of streams.

***Note: This assumes that there are 30 teaching weeks in a year and 36 periods in a week.
Annex 2: 
Preliminary Proposals for Standards for Teaching Facilities to be Provided at New and Renovated Secondary Schools 
Introduction
The design of school facilities in any country is obviously closely linked to the curriculum, teaching methods, budgetary conditions and class sizes and careful consideration has therefore been given to all of these factors.

Yemen’s current economic and social situation and the existing condition of school facilities have also been taken into consideration when developing the proposals for facilities. 

Technical criteria for secondary school teaching facilities have been identified that meet the requirements of the existing curriculum and that will hopefully also meet the requirements of new curricula and teaching methods as they are introduced. 

In addition, it is essential to remember that the proposed new facilities will be constructed to last for at least 30 years and the facilities must be designed to accommodate changes in the curricula and teaching methods that will occur during this period.

In order to define the technical criteria for the new facilities the following tasks have been carried out:

· A sample of existing secondary school designs have been reviewed and preliminary proposals for new secondary school buildings have been made (see Annex A).

· Existing government standards for secondary schools have been reviewed.

· The existing curriculum and teaching methods have been reviewed.

· Standards at similar schools in other countries have been reviewed.

Following this process, technical criteria and preliminary designs for the proposed teaching facilities for secondary schools have now been prepared for both new buildings and improvements to existing facilities and these are set out below.

These proposals have been prepared for discussion purposes and following discussions with all interested parties they will be amended as necessary and final proposals will be prepared as part of a final report.

Facilities Provided at Existing Secondary Schools
A sample of four designs for secondary schools has been reviewed in order to assess the teaching facilities that are at present being provided in secondary schools and the standards that these facilities are being designed to.  See Annex 1 for details of this review and for preliminary proposals relating to the accommodation to be provided in new and renovated secondary schools, construction standards, etc.

It should be noted that only academic subjects are taught at secondary schools in Yemen, technical subjects being taught at technical secondary schools.  It is not necessary therefore to provide a wide range of specialised facilities at ordinary secondary schools.

The teaching facilities that are provided and the standards to which they seem to be being designed are summarised below:
General Classrooms

The class size that is being designed for at least in rural areas seems to be a maximum of 30 students.

Two slightly different classroom sizes were seen in the designs reviewed, one of 40m² and one just under this giving an area per student of around 1.3m².  This is slightly lower than in other, comparable countries and lower than that recommended by the World Bank even in the 1980s and will provide crowded conditions for students and will not readily allow for any changes in furniture layout that might be required by different, more student-centred and activity-based teaching methods in the future.  See Table 1 below for comparative classroom sizes.

	Country
	Area per Student in Secondary School Classrooms

	Egypt
	1.25m²

	Yemen
	1.3m²

	Eritrea
	1.31m²

	Iran
	1.4m²

	Indonesia
	1.4m²

	East Timor
	1.4m²

	UNESCO recommendation
	1.45m²

	World Bank recommendation (1980s)
	1.5m²

	UK
	1.7 – 2.4m²

	USA
	3.4m²


Table 1: Comparative General Classroom Sizes

Classroom furniture consists of narrow desks seating 2 or more students with an attached bench without a back.  This type of furniture is uncomfortable and very inflexible in use (for instance, it is impossible to re-arrange such furniture to meet the needs of activity-based learning). 

Laboratories 

A standard laboratory with a preparation room attached is provided at all secondary schools and there is no differentiation between biology, chemistry and physics.

The area of the standard laboratory is 74m² giving an area per student of 1.86m² if used by 40 students.  The areas of the laboratories seen in the various school designs reviewed however were all smaller than that for the standard laboratory and areas were as follows: 62.4m², 63m², 70.7m² and 72.45m².

The student benches are fixed giving no flexibility in the layout.  Some students will have their backs to the teacher and the chalkboard making note-taking and observation of any experiments carried out by the teacher at the demonstration bench difficult.  There is also very little space for the students to gather round the teacher’s demonstration bench or the fume cupboard to watch experiments.  See Annex 1 for a full review of the design.

Information Technology Rooms

Only two schools out of the four designs reviewed had an IT Room.  The areas of the rooms were 62.4m² and 70.7m² giving areas per student of 1.56m² and 1.77m² if used by 40 students.

There were no details on the drawings of any fixed furniture, equipment or servicing.

 Multipurpose Rooms
Multipurpose Rooms are provided in all four school designs reviewed and these vary in size as follows: 49m², 63m², 70.7m², 72.45m², 88.11m² and 132.6m² giving areas per student of 1.23m², 1.58m², 1.77m², 1.8m², 2.2m² and 3.3m² if used by 40 students.  It is not clear what these rooms are used for but there seems to be little or no rationale behind the wide range of sizes being provided as all schools are teaching the same curriculum.

Language Classrooms 

Only one school had a language classroom and the area of this room was 49m² giving and area per student of 1.23m² if used by 40 students.

There were no details on the drawing of any furniture, equipment or servicing.

Home Economics
A home economics room is provided at two schools and a sewing room is provided at one school (all presumably for female students) although neither subjects are on the curriculum.  The areas of the rooms are respectively 49m², 60.6m² and 62.4m² giving areas per student of 1.23m², 1.52m² and 1.56m² if used by 40 students.

Libraries 

Only two schools had libraries and the area of these was 72.45m² and 64.74m² giving areas per student of 1.62m² and 1.8m² if used by 40 students.

Each library had an attached office/store but there were no details of shelving of any other fixed or loose furniture.

Existing MoE Standards for Secondary Schools

The MoE standards for secondary schools as far as it has been possible to establish are set out in Table 2 below.

	
	General

	1
	The minimum size for a secondary school should be two intake streams in Grade 10. 

	2
	In urban areas and other areas with high populations the class size should be 50 students.  For rural areas with medium density populations the class size should be 40 students.  For rural areas with low density populations the class size should be 30 students.  

	
	School Site

	1
	The school site must be in a populated area

	2
	The school should be in the centre of the populated area

	3
	The total site area should be 4.70m² per student and there should be a play ground area of 2.13m² per student

	3
	The school site must be safe.  It should not be in an area threatened by floods, on dangerous slopes, close to highways, etc

	4
	There should be sufficient space on the site for expansion of the school facilities

	
	Classrooms and other facilities

	1
	The school should provide a minimum of six classrooms for a two intake stream school

	2
	In addition the school should have one library/education resources room (1.5m² per student), one multipurpose room (1.4m² - 2.4m² per student), one chemistry laboratory (1.5m² per student), one biology laboratory (1.5m² per student), one computer/languages laboratory (1.5m² per student), one girls’ activities room (1.5m² per student)

	
	Administration, etc

	1
	There should be an administration room (155 – 180 m²), a teachers’ room and a store

	2
	In rural areas there should be a hostel for teachers.

	
	Toilets  

	1
	There should be boys’ toilets in the ratio of 1:40 students and girls’ toilets in the ratio of 1:35 students

	
	Services

	1
	The site must be provided with water and electricity


Table 2: MoE Standards for Secondary Schools 

It should be noted that in the four school designs reviewed (see Annex 1), the facilities provided do not always follow these standards.
Weekly Timetable for Secondary Schools for Existing Curriculum

	Subject
	Periods per Subject per Week per Class and Stream

	
	Grade 10
	Grade 11
	Grade 12

	General Studies
	40 students per class
	Science


	Arts


	Science 


	Arts



	Holy Quran
	2
	2
	3
	2
	2

	Islamic Studies
	4
	3
	4
	3
	4

	Arabic
	6
	6
	8
	6
	8

	History
	2
	
	3
	
	3

	Geography
	2
	
	3
	
	4

	Social Studies
	1
	
	
	
	

	Social Science
	
	
	2
	
	

	Economics
	
	
	2
	
	

	Psychology
	
	
	
	
	3

	Philosophy
	
	
	
	
	3

	Maths
	5
	8
	
	8
	

	Statistics
	
	
	2
	
	2

	English
	5
	5
	6
	5
	6

	Arts
	1
	1
	1
	1
	

	Biology
	3
	3
	
	3
	

	Chemistry
	2
	3
	
	3
	

	Physics
	2
	4
	
	4
	

	Activities
	1
	1
	2
	1
	1

	Total Number of Periods per Class or Stream
	36
	36
	36
	36
	36

	Total Number of Periods per week
	180


Table 3: Weekly Timetable for Secondary Schools

Performance Criteria for Classrooms and Subject Rooms

An analysis has been carried out of the performance criteria required for classrooms for all subjects and these are set out in Table 4 below.

It should be noted that very few electronic teaching aids such as TVs, computers, etc are used at present but these will probably be introduced in future during the lifetime of the buildings and therefore where possible, allowance should be made for their future use and for this reason they are included in the fourth column of the table.

	
	Subject
	Teaching Method 
	Possible teaching aids and equipment

	1
	Languages: Arabic and English
	Students will be taught through listening, speaking, reading and writing the language. Students will participate in class activities singly, in pairs or in groups.
	TV, OHP, audio-cassettes, computers, teaching aids



	These subjects may in the future require portable audio-cassettes and headphones for each student, access to a TV, computers, projectors and other teaching aids.  Teaching can take place in a general classroom with access to a store for equipment and in the IT room when necessary.  

	2
	Holy Quran, Islamic Studies, Social Studies, Social Science, Economic Principles, Psychology, Philosophy
	Taught in whole class groups or small groups
	TV, OHP, teaching aids

	These subjects may in the future require access to a TV, projectors and other teaching aids but not for all periods.  Teaching can take place in a general classroom with access to a store for equipment

	3
	Information Technology
	Ideally the IT Room should have sufficient computers for every student in a class (ie 40 students) to be able to work individually.  It is possible however for two students to share one computer.
	Computers, printers, scanners, software, TV, other teaching aids. 

	IT requires a lot of specialised equipment and an IT Room will be required, preferably air-conditioned.  This room however can be used for teaching other subjects such as languages and maths and for students to carry out individual projects.  All computers should be networked and connected to the internet and funding should be available to pay for this service. 

	4
	History
	Taught in whole class groups or small groups
	TV, OHP, models, maps, teaching aids 

	This subject may in the future require access to a TV, projectors, etc and can be taught in a general classroom with access to a store for equipment shared with other subjects.  Might need access to a large classroom for role play or other activities

	5
	Geography
	Taught in whole class groups or small groups
	TV, OHP, models, maps, other reference material, teaching aids

	This subject may in the future require access to a TV, projectors, etc and can be taught in a general classroom with access to a store for specialized equipment.  Might need access to a large classroom for practical work on maps, models, etc.  Might also require access to IT Room.

	6
	Maths, Statistics


	Taught in whole class groups or small groups
	TV, OHP, computers, maths models, other reference material, teaching aids



	These subjects may in the future require access to a TV, computers, projectors, etc and can be taught in a general classroom with access to a store for equipment.  Might need access to a large classroom for modelling work.  Will require access to the IT Room for some lessons. 

	7
	Physics
	Taught as theory or by demonstration by teacher or through experimental enquiry by students either singly or in small groups.  
	TV, OHP, computers, physics equipment, laboratory apparatus, models, etc, teaching aids. 

	Teaching of theory at present takes place in general classrooms and very little practical work is carried out by either teachers or students and therefore little use is made of laboratories. This will undoubtedly change in future and lessons involving theory and teacher demonstrations or theory and student experiments will then have to be carried out in a laboratory.  Laboratories will be used for experiments, lectures, note-taking etc and must be flexible in arrangement.  

	8
	Chemistry
	Taught as theory or by demonstration by teacher or through experimental enquiry by students either singly or in small groups. 
	TV, OHP, computers, fume cupboards, chemistry equipment and chemicals, laboratory apparatus, models, etc, teaching aids.

	Teaching of theory at present takes place in general classrooms and very little practical work is carried out by either teachers or students and therefore little use is made of laboratories. This will undoubtedly change in future and lessons involving theory and teacher demonstrations or theory and student experiments will then have to be carried out in a laboratory.  Laboratories will be used for experiments, lectures, note-taking etc and must be flexible in arrangement.  This laboratory will require at least one fume cupboard for demonstrations and experiments. It could be shared with biology (see below) if there are insufficient chemistry and biology periods to justify the provision of two laboratories.  

	9
	Biology
	Taught as theory or by demonstration by teacher or through experimental enquiry by students either singly or in small groups. 
	TV, OHP, computers, biology equipment and chemicals, laboratory apparatus, models, etc, teaching aids.

	Teaching of theory at present takes place in general classrooms and very little practical work is carried out by either teachers or students and therefore little use is made of laboratories. This will undoubtedly change in future and lessons involving theory and teacher demonstrations or theory and student experiments will then have to be carried out in a laboratory.  Laboratories will be used for experiments, lectures, note-taking etc and must be flexible in arrangement.  This laboratory could be shared with chemistry (and even physics in small schools) if there are insufficient chemistry, biology and physics periods to justify the provision of two or three laboratories.  


Table 4: Performance criteria for classrooms and subject rooms

Proposed Facilities for Secondary Schools

General

The following proposals for facilities for secondary schools are based upon the performance criteria described above.

The existing curriculum and teaching methods and possible new teaching methods have also been taken into account together with standards for similar facilities in other countries.

One of the main objectives in preparing these proposals has been to reduce the cost of construction or renovation by maximizing the use of all facilities, by restricting the number of specialized facilities and by maximizing the flexibility in use of all facilities.

A class size of 40 students has been taken as standard in order to reduce construction costs and the cost of providing teachers (smaller classes will require more classrooms and teachers) and all of the room sizes indicated below relate to this figure.  This does however mean that secondary schools should have sufficient graduates of grade 9 in their catchment area to provide intake streams of 40 students a class and there should also be sufficient female graduates to provide at least one intake stream.
All of the new facilities to be provided by the proposed project should have a useful life of at least 30 years and during this time both the teaching methods and the curricula will undoubtedly change as will the servicing requirements of the buildings.  

As new curricula are introduced very different kinds of teaching methods than those in use at present will probably be required that are more student-centred and activity-based.

The proposals for the new facilities outlined below take all of these factors into account as much as possible and allow for both short-term flexibility in the use of the new facilities and long-term adaptability to allow for future changes.

The proposed structural bay size for all new buildings is 2.75 metres which is structurally economical and will give a range of acceptable room sizes for all the proposed new facilities.  The width of the proposed new buildings will be 7.2 metres for general classrooms and for specialized rooms such as laboratories (these dimensions are to structural grid lines).  See drawing YN/01.

The proposals outlined below are for new facilities; the renovation of existing facilities is covered in the section that follows.

Subject Rooms

There are two possible ways of providing subject rooms.  One is to provide separate, fully equipped rooms for each subject and the other is to provide separate rooms only for those subjects that require specialized fittings and fixtures such as laboratories.  The other subjects would share general classrooms and also share equipment.

The initial cost of providing separate fully equipped subject rooms for all subjects would obviously be very high and this solution would also be very inflexible.  Any change in the curriculum or in the timetable would probably require changes to the facilities. 

It is proposed therefore that specific subject rooms will be provided only for those subjects requiring specialised fittings and fixtures and these are the science laboratories and the information technology room if provided.

All other subjects will be taught in general classrooms and any specialized equipment that is required for these subjects will be kept in cupboards or stores attached to the classrooms.  General classrooms can of course be mainly used for one subject but they should also be available for use for other subjects as required by the time-tabling in order to reduce the total amount of teaching spaces required.

General Classrooms 

Class size: It is proposed that the maximum class size at least for rural schools should be 40 students seated at 20 double-desks per classroom. 

Classroom size: It is proposed that the size of the general classroom should be standardized at 8.05 x 7.0 metres net giving a total area of 56.35m² and an area per student of 1.4m².  
Classroom furniture: It is proposed that the new classroom furniture should consist of double-desks and separate loose chairs.  This will give flexibility both in the layout and the use of the classrooms.  

The desks should be 1200 x 500mm and can then be arranged in five rows of four desks with three aisles to accommodate 40 students for traditional teaching; or in groups of four desks for group work; or in a horse-shoe layout for class discussions.  See drawings YN/02, 03, 04.

Services: The classrooms should be well lit and ventilated from both sides and should have adequate numbers of electrical sockets.

Fittings and fixtures: classrooms should be fitted with chalk-boards at one end for teaching purposes and pin-boards at the other end for display purposes.  They should have the possibility of having blinds or curtains fitted in the future so that they can be blacked out if a TV or a projector is used.

Note: The number of general classrooms to be provided at any particular school will depend upon the number of students, the numbers of boys and girls and the number of streams and on the time-tabling of lessons.

Large General Classrooms

It is proposed to provide some larger general classrooms that will replace the multipurpose rooms currently being provided.  These classrooms will be 10.8 x 7.0 metres net (75.6m² or 1.89m²/student) and will accommodate 40 students at larger tables (1200 x 600mm).  This classroom will accommodate the variety of furniture arrangements that will be required for class discussions, group and practical work as well as for traditional teaching.  
These large classrooms can be used for practical or project work associated with subjects such as geography, history, mathematics, home economics, etc and for role-play in the teaching of languages or for language teaching using portable tape-recorders.  They can also be used for group teaching where different groups are carrying out different tasks at the same time.  See drawings YN/05 (traditional classroom layout with activity space at front of classroom); YN/06 (classroom arranged for practical work) and YN/07 (classroom arranged for language teaching with one group reading, one group having discussions and one group listening to audio tapes in small groups).

The large classrooms should have space for permanent displays on a fixed bench along one wall and the bench should have a sink with a water supply for use in some practical subjects.  It should have plenty of display space on the walls and it should be possible to attach up to 4 stores to the room for the storage of specialist equipment.  

The number of large classrooms to be provided at any particular school will depend upon the total number of students, the numbers of girls and boys and the time-tabling of lessons but in other countries they are usually provided in the ratio of 1 large classroom to 4/5 standard classrooms.

Science Facilities

Science can be taught in two types of facility: science theory can be taught in a general classroom but any sort of practical demonstration by the teacher (even if accompanied by a lecture) or experiments by the students will have to take place in a laboratory.

At present very little practical work is carried out either by the teacher or the students and therefore little use is made of laboratories (see Table 1 below) and the provision of laboratories is very low.  However as more advanced teaching methods are introduced more use will probably be made of laboratories by both teachers and students and more laboratories will probably be required.  Space should be available therefore on school sites for the construction of more laboratories in the future.

	Grade
	Subject
	Periods in Laboratory per Year

	Grade 10
	Biology
	5

	
	Chemistry
	10

	
	Physics
	10

	Grade 11 (Science)
	Biology
	5

	
	Chemistry
	15

	
	Physics
	10

	Grade 12 (Science)
	Biology
	5

	
	Chemistry
	15

	
	Physics
	15


Table 5: Periods spent in laboratories per year

The main criteria for laboratories are that they should be flexible in use, allow for students’ practical work and experiments as well as demonstrations by the teacher, allow for briefing and lectures by the teacher and note-taking by the students and provide all the necessary services.

They should provide plenty of worktop space (at least 0.3m²/student) for students and a demonstration bench for the teacher.

It is proposed that natural gas and bunsen burners are used for heating where necessary for experiments.  As very few experiments are carried out either by teachers or students it is doubtful whether a piped supply is required at present.  However as students start to carry out more experiments both the chemistry and biology laboratories will then probably require a piped natural gas supply (and also a secure storage area for gas bottles) and it should be possible to provide these in the future.  
Services should be provided in a way that allows for repair and maintenance and flexibility and change over time (such as the future provision of piped gas).  The provision of services to laboratories is very expensive and they should therefore be provided in the simplest and most cost-effective way possible.

Services (electricity, water and gas as necessary) to all science classrooms should be provided along the window walls under benches where they will be easily accessible for repairs and upgrading.  Services should not be provided in floor ducts unless absolutely necessary as this is expensive and access for repairs or upgrading is difficult. 
Fixed benches with cupboards under should be provided to all laboratories along both window walls for use for practical work, long term experiments, computers or display purposes.  
Bench and table tops to all laboratories should be made of a material resistant to water penetration, chemical attack, heat and impact.  Glazed tiled surfaces as at present used are not suitable as they crack and break up. 
Stools with wooden seats (shaped for comfort if possible) should be provided for sitting at the benches and tables.

All science classrooms should have a serviced teacher’s demonstration bench at one end with sufficient space for up to half a class of students to gather round and watch the demonstration (it is not possible for a whole class to watch a demonstration). See drawing YN/10.  

A chalkboard should be provided on the wall behind the demonstration bench and pinboards on other available wall space. There should be space for a TV or a projector and all windows should have the possibility of having curtains or blinds so that they can be blacked out when these are being used.

In all science classrooms, loose student tables are grouped next to fixed service points that provide electricity, water and gas as necessary to groups of seven students allowing them to carry out their own experiments either individually or in pairs. See drawing YN/08.  

All of the tables can be re-arranged in a variety of ways to allow all students to sit, look at the teacher and the chalkboard and take notes during briefing and lectures without having their backs to the teacher.  See drawing YN/09.

All laboratories should be equipped with a first-aid kit and all teachers and students should wear protective goggles when any experiments are being carried out.  All laboratories should also be equipped with the appropriate fire-extinguishers for chemical or electrical fires.

Three types of science laboratory that are all the same size and will accommodate up to 40 students are therefore proposed: one for teaching physics, one for teaching chemistry and one for teaching biology.  In many smaller schools only one or two laboratories will be required and these should be fully serviced so that chemistry and biology can be taught in them (see below).
It is proposed that the standard science laboratory size will be four structural bays long giving an interior length of 10.8 x 7.0 metres wide net (75.6m² or 1.89m²/student).  Science laboratories should have an attached preparation and store room 2.55 x 7.0 metres wide (17.85m²).  In small schools where only one laboratory is provided for the teaching of all three science subjects, the laboratory should be provided with two preparation rooms (one at each end) for the storage of equipment.
The total number of science laboratories to be provided at any particular school will depend on the total number of students, the number of science periods taught and on the time-tabling of lessons.

Chemistry Laboratory: The chemistry laboratory will have the standard layout as described above with sinks and water supplies along the side benches for use of the students and in the demonstration bench for the use of the teacher.  There could be gas supplies to the side benches and the demonstration bench. See drawing YN/08 and 09.
There will also be a fixed fume cupboard in the chemistry laboratory against the rear wall and accessed from an adjacent prep room/store for the use of the teacher in giving demonstrations to students (there is sufficient space for half the class to gather round and watch demonstrations: see drawing YN/08) and for the use of one or two students in carrying out their own experiments.  

The fume cupboard must be glazed on the front and sides to allow maximum visibility for students; should have a fixed ducted extract system with a centrifugal fan to remove gases and fumes and the ducts must be taken up at least one metre above the roof line. The fume cupboard should have a water supply, the possibility of a gas supply, a drip cup for waste and a double switched socket outlet.  The worktop should be the same material as the benches.   

Biology Laboratory: The biology laboratory will have the same layout and services as described for the chemistry laboratory above but without the fume cupboard.  See drawing YN/08.

Physics Laboratory: The physics laboratory will have the standard layout as described above but there will be only one sink with a water supply in the side bench adjacent to the teacher’s demonstration bench.  The only service provided to the side benches and the demonstration bench will be electricity.  See drawing YM/08.

Preparation Rooms: a number of preparation rooms may be provided each serving one or two laboratories. 
Each preparation room should be divided into five zones of activity: 1) a main storage area; 2) a preparation, dispensing and cleaning area; 3) a clean work area and 4) a chemical store.

The main storage area is for the storage of materials and equipment.  The preparation, dispensing and cleaning area is the main work area and is used for preparing practical experiments, cleaning and sorting glassware and equipment, dispensing chemicals, etc.  The clean work area is used for administrative tasks and will include a computer, filing cabinets, etc.  The chemical store must be well ventilated, fire-resistant and secure and shelving should be made of a non-corrosive material.  If large quantities of chemicals are kept by the school there should be a separate store in the school grounds.

All sinks in laboratories should be provided with diluting chambers to dilute chemicals before they enter the drainage system.  Chemical waste from laboratory sinks should be disposed of safely and separately from the main school drainage.

An eye-wash sink with a shower attachment should be provided if possible in the preparation room for use in case of accidents.

An outside project area for students adjacent to the biology classroom should be provided if at all possible.

Home Economics and Sewing Rooms
Home economics and sewing are not time-tabled activities.  However these rooms are being provided at some schools and could offer an incentive for more girls to attend secondary schools.

Home economics should be taught in a specially equipped home economics room which would require facilities for half a class (20 students; it will be very difficult to teach a full class of 40).  The room should be the same size as the proposed large general classroom (10.8 x 7.0 metres wide net; 75.6m² or 3.78m²/student) and will require an attached store 2.55 x 7 metres wide (17.85m²) for equipment.

The room should provide facilities for food preparation and food and nutrition lessons.  One cooker and one sink together with worktops for food preparation should be provided for every two students and a refrigerator should also be provided.  See drawing YN/11. 

Sewing could be taught in one of the large general classrooms (10.8 x 7.0 metres wide net; 75.6m² see above) but again it would be difficult to teach more than half a class giving an area per student of 3.78m².  An attached store would be required for equipment and materials 2.55 x 7 metres wide (17.85m²).  One sewing machine and table should be provided for every four students together with tables for laying out materials, using patterns, etc.  A curtained off fitting space should be provided (or the store could be used). 

Information Technology Facilities

Information technology (IT) is again not yet a time-tabled activity but will probably become so in the not very distant future.  In the meantime the facilities to be provided could support the teaching of other subjects such as languages, mathematics, etc and be available for project use by students.

A large classroom with computer equipment for teaching IT to 40 students is therefore proposed that could also be used for teaching languages, maths, etc.

The room should be the same size as the large general classroom (0.8 x 7.0 metres; 75.6m² or 1.89m²/student) and should have a teacher’s desk, space for a printer, scanner, etc and workstations for individual students around the walls and down the centre.  See drawing YN/12
Plenty of space should be allowed as these rooms as they can get very hot when all the machines are in use. The rooms should be air-conditioned if possible.

All computers should be networked and have access to the internet.  All computers should be linked to a central printer and scanner and also to a computer used by the teacher.

Large numbers of electrical outlets will be required and all services and equipment should be easily accessible and upgradeable.  Large conduits along the walls and in the floor to the central workstations should allow easy access for changing and upgrading cables and connections.

An office and store should be provided adjacent to the classroom for the IT teacher and/or technician and for equipment.

It is proposed that in large schools, a separate IT resource room could be provided as part of the proposed Library/Resource Centre and this room could be used for small IT classes (20 students) as well as a general IT resource room for the school (see Library/Resource Centre below).

Language Facilities

Although it is not proposed to provide specific separate facilities for language teaching, a description of the way the facilities that will be provided could be used now or in the future will be useful.

A variety of teaching methods can be used for language teaching and students can learn from listening, speaking and watching as well as from reading, writing and role-play.  They would be taught predominantly in the target language and could learn through a range of activities including:

· Teachers’ presentations

· Pupils’ presentations

· Role play or drama

· Discussions

· Reading and writing

· Using audio equipment

· Using video equipment

· Using computers

Facilities should therefore be provided for whole class teaching, small study groups, individual study and for the use of audio, video and IT equipment.

Specialist language laboratories have been a feature of many European schools since the 1970s with fixed tables and inset audio-recorders linked to a central teacher’s console.  It is now generally agreed however that there is insufficient need for such a laboratory which, with its rows of fixed tables with screens between is very expensive to provide and impossible to use for other activities.  These facilities are therefore now considered to be outmoded and more flexible kinds of facilities are favoured.

It is proposed therefore that most language teaching should take place in one of the large general classrooms (10.8 x 7.0 metres; 75.6m² or 1.89m²/student) with loose work tables (1200 x 600mm) that will provide adequate space for equipment and text books and that can be arranged in different formats.  See YN/07.
The classroom should be provided with, or have the potential to be provided with a chalkboard, an OHP and screen, a large-screen TV and a store for equipment such as tape-recorders, etc.

This space can then be used for traditional teaching, class discussions, role-play or drama, watching videos, group work and work using audio-equipment.  

It should be noted here that for work that requires listening to audio-tapes, the equipment that is usually provided in Europe is a portable, battery powered cassette-player that can service up to six students.  This kind of equipment does not require fixed benches or electrical installations.

The room should have a fixed bench along one wall that can be used for display or work purposes and should also have plenty of pinboards for display purposes.

The room should also have adequate numbers of electrical outlets for all the different types of equipment that might be used.

Activities that require the use of computers (such as interactive activities using material recorded on CD-ROMs, etc) can take place in the IT Room described above or in half class groups in the IT resource room that is proposed as part of the Library/Resource Centre (see below) in larger schools.
Libraries and Library/Resource Centres 
The school library should be a resource centre which is the main information base for the school.  Independent student study and research will become more and more important over the coming years and the library should be able to accommodate these activities.
In smaller rural secondary schools it will not be possible to provide much more than a traditional library but this should still provide space for a range of activities such as reading and group study and space for: 

· Storage and display of fiction and non-fiction books and film and audio materials

· Informal seating, reading and study areas for individuals and small groups

· A reference section including newspapers and periodicals and resources such as charts, maps and photographs

· A control desk

A proposal for a small library providing space for half a class (20 students) is shown in drawing YN/13 and this is the same size as a standard classroom 

(8.05 x 7.0 metres; 56.35m² or 2.8m²/per student for 20 students).
A proposal for a larger library providing space for a whole class is shown in drawing YN/14 and this is the same size as a large classroom (10.8 x 7.0 metres; 75.6m² or 1.89m²/student.

In large, urban secondary schools, the library should become a library/resource centre and it should accommodate a wide range of activities including reading, IT and group study.  
The library/resource centre should allow space for:

· Storage and display of fiction and non-fiction books and film and audio materials

· Whole class work

· Informal seating, reading and study areas for individuals and small groups

· A reference section including newspapers and periodicals and resources such as charts, maps and photographs

· IT work stations including CD-ROMs and inter-active videos for student research

· Artefacts including models and specimens

· A display and exhibition area

· A control desk
The proposed library/resource centre therefore provides a range of spaces for a variety of uses.  It is six bays long giving an overall space 16.5 x 7.0 metres internally (115.5m²) divided into two areas: an IT room and a main reading/book stack/study area (an office/store will also be required).  The reading area can be used by both students and teachers or teachers can take books to their work areas in the proposed teachers’ centres. 
The IT room has space for 20 computer work stations around the wall and in the centre of the room.  These computers should be networked, have access to the internet and be linked to a central printer and scanner and a computer in the adjacent office/store.  The IT room will be supervised and controlled from the office/store.

The main library area has a control desk at the entrance, a display area, reading/study areas, a book stack area and a small reference area for magazines, newspapers, etc.    

The library resource centre as shown provides space for approximately 60 students (1.92m²/student) at any one time and would be suitable for a school with a total of 960 students.  Larger schools will require additional space broken down into similar activity spaces but the total amount of space provided will depend on the budget available.

Upgrading of Existing Secondary Schools

General

Many or most of the schools to be included in the project will be existing schools with facilities that require renovation.

These existing schools will also undoubtedly require additional facilities especially those such as laboratories, IT rooms and libraries that require specialized services, fittings and fixtures.  

Some schools may require additional general classrooms and they will also probably require some of the large general classrooms.

Where schools require additional new facilities the proposals outlined above should be followed as long as there is space on the school sites for the new facilities.

Where existing school facilities are in such bad condition that they cannot be renovated at a reasonable cost then they should be demolished and a new school constructed following the guidelines outlined above.

Where schools have existing facilities that can be renovated then the following guidelines should be followed.

General Classrooms

Most schools will probably have some general classrooms that require renovation.  If they are less than 5% smaller than the size of the proposed new classrooms and are in reasonable condition they should be renovated with new doors and windows, new floors and ceilings, new electrical installations and new pinboards and chalkboards as required.

The renovated classrooms should be provided with 20 double desks and 40 chairs similar to those for new classrooms.

If existing classrooms are in reasonable condition but are more than 5% smaller than the size of the proposed new classrooms, renovation can be considered but class sizes will have to be smaller and this will affect the total number of teachers required.

All renovated classrooms should have the potential for the fitting of blinds or curtains at the windows for blacking out the classroom.

Science Facilities

Some schools might have existing facilities that could be renovated as laboratories.  This should only be considered however where the existing facilities are similar in size to the proposed new laboratories as the size of these facilities is critical.

The servicing of laboratories is also critical and therefore renovation of existing facilities should only be considered where the introduction of new services is relatively easy.

If both these criteria can be met, the laboratories should be renovated to similar standards as the new ones described above with similar services, fitted furniture and equipment.

Information Technology Facilities

Some schools might have existing facilities that could be renovated as IT Rooms.  This should only be considered however where the existing facilities are similar in size to the proposed new IT Rooms as the size is critical.  

The servicing of the IT Rooms is also critical and therefore renovation of existing facilities should only be considered where the introduction of new electrical and data transfer services is relatively easy.

If both these criteria can be met, the IT Rooms should be renovated to similar standards as the new facility described above with similar services, fitted furniture and equipment.

Libraries and Library/Resource Centres
Some schools might have existing facilities that could be renovated as a Library or Library/Resource Centre.  The total size will depend upon the number of students in the school.

The servicing of the IT Room if provided is however critical and therefore renovation of existing facilities should only be considered where the introduction of new electrical and data transfer services is relatively easy.

If these criteria can be met, the Library or Library/Resource Centre should be renovated to similar standards as the new facility described above with similar services, fitted furniture and equipment.

Proposed Facilities for Secondary Schools as Compared with Current Standards

The size of the proposed facilities as compared with existing standards for secondary schools is shown in Table 5 below.

	
	Facilities
	Present Standard
	Proposed Standard

	1
	General classroom (rural)
	40m²/ 30 students at 1.3 m²
	56.35m²/40 students at 1.4m²

	2  
	Large general classroom (replaces multipurpose rooms)
	49m² - 132.26m²
	75.6m²

	3
	Laboratory for Physics, Chemistry, Biology 
	74.37m²
	75.6m²

	4
	Preparation rooms for Physics, Chemistry, Biology Laboratories
	17.85m²
	17.85m²

	5
	Language classroom
	-
	75.6m²

	6
	IT classroom 
	62.4m² - 70.7m²
	75.6m²

	7
	Libraries and Library/Resource Centres
	64.74m² - 72.45m²
	56.35m²/

75.6m²/115m²


Table 6: Summary of Proposed Facilities as Compared with Current Standards for Secondary Schools

[image: image1.jpg]% 2-735M g 2-35M
=212 == -
|
CLASSROOM |
f.(
:q;r o= == x
|
VERANDA / BALCONY =
=i 1 i -

PROPOSED STRUCTURAL GRID

YIN/0T




[image: image2.jpg]METRES
% + METRE

2 § ] |
BE D o0
Al FQ QQ%

Qa, Ao ol

T . |

* CHALK BOAAD

GENERAL CLASSROOM -TRADITIONAL LAYOUT

YN/0Z




[image: image3.jpg]7 METRES

@U'UU

|
|

805 METRES

U ou

CHALK BOARD

GENERAL CLASSROOM - GROUP WORK

YN/03




[image: image4.jpg]PINBOARD

[ﬁ Q]m mem OO0

(N0

]
v

i

ATAIa

120 X500m |
i

|

& I
|

g 1P

wivh s wle vie

L
Gl N0

|

alalalalalala

120 X 60om .
TBACHER e

‘ CHALKBOARD U ‘
. — = o

i

GENERAL CLASSROOM - CLASS DISCUSSIONS

YIN/04
N




[image: image5.jpg]7 METRES

* l( \ 5

IR e
B N atalalalalayala

i = {120x60cm 3{ ]

( O P00

| alalalalalalala)

|| L

: Oaonnann | E

- 8 5 e mTR RS S E

"; 1 acvity seace

: is:mjl}'] 1 120%60m :

| Lenees | C

[ | osRRD N —— J- i)

i -

LARGE CLASSROOM -TRADITIONAL LAYOUT

YN/05




[image: image6.jpg]F METRES

S9N 804

PINBOARD

_

nYalaYatalalatatall

-

.

)
fa¥e

ns

iwiviwie

~ : .
GC@G@C,

0 %x600m
TEACHER

-

CHALK BOARD

YN/06

LARGE CLASSROOM - PRACTICAL WORK




[image: image7.jpg]7 METRES

wiwie

o

| WORK TOP

GRoUP QEHIHG

To ;l; DIOQES

alalalalals)

120%600m

o

109 METRES

- | SINK

i

o s

120 xbOcm
| TencHeER

L.

CHMKBOARD

Tiwivie

i

LARGE CLASSROOM - LANGUAGE TEACHING

T

YN/07




[image: image8.jpg]FMETRES

' 1‘
- STUDMFEBIMENm

SIYLAN §-01
Fr e 0 o d 0 - G
, O D OlfF I O & |
| O L Opiae ol 1o |
| 0 B O 0 Ol O |
2 _ i o
_ @: _ _ _ .
g ST i} ﬂ@g
2 s et * B | o TN @
Ee O Jgo0 OlT]o oo
- o 1s0 ol 10 9li] ©
¥ .P@D 8 =% O - e R

T
l

CHEMISTRY LABORATORY

YN/08




[image: image9.jpg]< >
o D e ‘ =
( ey -

’ OﬁmoﬂsmmorDv E
10 )|

| I —T b i

_ U 0 xeoom | Q} jeRe TL
B 0O OOt
:DOO LD Ooj:
Hiexs oe_‘ﬁg 2
| L g
10|00 IO ool

L i R

i L
_DUD' T “CTOD

| 1

| ~]©OO QO QO|~|
10 DK
ﬂ_ . . el b 3

| = o
CHEMISTRY LABORATORY - LECTUMOTE TAKING

YN/OY




[image: image10.jpg]L
CHEMISTRY LABORATORY - DEMOMSTRATIONS

YN/10




[image: image11.jpg]—Z METRES

—+ \ 3+
Lo e & ; !
il I >‘PIN1;0ABD>+ msr;w g Ig i
_ ZZE FRIDGE t*

| !
il -m :
! ‘_—\‘ﬂoﬁ h
| ‘WQ’_‘@L,&) o 1
- . — - . tooker OOl
T[N: it
m W
(== l |

COOKER ool
SINK. TABLE COOKER‘D‘KD .

- g &
ﬁ ‘ji TABLE COOKER o O !
{m il
+ 50 Xd'
2 = WORKFOP—- o) s = -Sll‘ut.?..
: - COOKER Imm

SINK Di— :5 o

oo

©0

COOKERS  [Do| ==

]

HOME ECONOMICS




[image: image12.jpg]#METRES

STUIAN 601 ] wq
‘, - ,_
| a |
__ . Q} ._
| m 3y B 4
1 ros— Wua F | ﬁ g Q;\L
Wm el chwiwhokws Sl |
| | | |
IE EE | | . "
18 o000 00 040008

YN/12




[image: image13.jpg]7 METRES

805 METRES

LIBRARY 1

YN/13




[image: image14.jpg]7 METRES

o .

B T T S
i [sainG | [ DIsPLAY T +
|
IdJ afaWalal
} . |
[ [sHevine %waw }f \
f—-—-— ———— @—@Q@{“
{G CTQ Q?{Q o) T]
| [ - ’ 1
!M“Lj d IEOxbofMA} A‘

/ 5 '

4 (S AWE O EG 5"
4Q-----— 2T s
| | I
| L svewvg ] d i

| .
[;_#. = = _ﬁ‘j ot _“'_'—'T:# e
) o D \ald

i 150 x60om -

{ WAL & T 4T | conmoL o< {

| T |

) ISP+ PINBORRD_ *)F} _i_*
i i
LIBRARY 2




Annex 3:
Selection of Schools to be Included in Proposed World Bank Girls’ Education Project
Introduction
Before any schools can be selected to be included in the proposed World Bank project a process has to be undergone consisting of a number of steps:

· The existing situation in all secondary schools in the country must be established in terms of their location, their current and projected enrolment; the existing facilities at each school and their condition, the site conditions, etc

· Criteria will then have to be developed on the basis of which schools to be included in the project can be selected

Once a short-list of schools that would qualify for inclusion in the project has been established, a preliminary cost estimate can be prepared for the replacement, renovation and extension of each school on the short-list.  It will then be possible to establish the number of schools that can be renovated, replaced and extended within the proposed budget for the project and a preliminary list of schools to be included in the project can be prepared.

Having established a preliminary list of schools to be included in the project, detailed proposals, including costings will have to be prepared for each school and a final list of schools to be included in the project can be established.  

1: Establishing the Existing Situation
The current enrolment, number and condition of existing facilities and requirements for new facilities must be established for all secondary schools in the country.

Existing Schools

The School Mapping Directorate should therefore to prepare a schedule of all 280 secondary schools in the country giving the following basic information:

Location:

· Location of school: Governorate and district 

· Whether in urban/rural/remote area

· Whether in district centre

· Whether there is road access to the school

· Transport services in the catchment area of the school

Enrolment

· Current enrolment at school with breakdown of the numbers of boys and girls

· Current numbers of grades and science and arts streams; are there separate streams for girls

· Current secondary school age population including numbers of boys and girls in school’s catchment area

· Secondary school age projections for boys and girls in school’s catchment area

Existing facilities at the school

· Number of facilities existing at school: classrooms, laboratories, libraries and other specialised facilities and number of non-teaching facilities such as principal’s office, secretary’s office, teachers’ rooms, toilets

· What other facilities does the school require to serve current school population: classrooms, library, laboratories, IT rooms, etc

· Whether the school has separate facilities for girls and if so what these facilities are

Condition

· Whether school buildings are temporary or permanent

· Construction type of the buildings: structure, walls, floors and roof

· Number of stories

· Condition of school buildings: do any require major renovations, repairs or replacement

Services

· Whether the school has electricity, drinking water and water for toilets

· Whether the school has toilets; if so what type are they; are they functioning; are there adequate numbers for boys, girls and staff; are there physically separate toilets for girls

Site

· Is the school located close to a market or other busy location likely to affect the enrolment of girls

· Is the site fenced

· Does the site slope or is it flat

· Are the any recreation areas; if so are there separate ones for boys and girls

· Is there room for extending the school to serve the current school population if extra facilities are required

· Is there room for future expansion of the school to cope with school population increases

· Is there room to construct separate facilities for girls away from those for boys; if not, is there a nearby site that could be used for girls facilities and that has space for expansion in the future.

Possible New Schools
The School Mapping Directorate should also prepare a schedule of locations in the country where new secondary schools, especially ones that could cater for an intake of female students, are required.

The Directorate should, using current estimates of secondary school age children, establish which districts if any have sufficient numbers of secondary school age children, particularly girls, to justify the construction of new secondary schools if none exists.  

2: Criteria for Selecting Schools for Inclusion in the Project
The main aim of the project is to increase the enrolment of girls into secondary schools particularly in the rural areas.  

The project will focus on existing schools but new schools could possibly be constructed in areas where there are no existing secondary schools but the same criteria are fulfilled.

Schools to be included in the project should fulfil the following criteria:

Location

· Schools or sites should be located in district centres or areas with a secondary school age population sufficient to support a 3-stream entry secondary school (with at least one entry stream of girls) and good transport links with the surrounding area; If transport links are good, girls could be bussed to school

· The location should be in quiet area away from markets, etc

Enrolment

· There must be an established need in the school catchment area, as shown by the school mapping data, for more places in secondary school

· There should be the potential in the area to increase class numbers up to a maximum of 40 students a class in order to reduce construction and running costs

· There must be sufficient basic schools in the school’s catchment area to provide at least one stream of girls (40) and two streams of boys (80) annually

· There should be the potential for future increases in the size of the school particularly in the number of girls, as shown in secondary school age population projections

· The minimum size school to be included in the project should have 1 entry-stream of 40 students for girls and 2 entry-streams of 40 students each for boys.  Larger schools can of course be included particularly schools with larger intakes of girls

· The Governorate or District should have good track record of implementing projects

Site

· The site must offer the potential for extension i.e. the land should not slope too steeply and there should be sufficient space to allow for expansion of the school over the next 5/10 years

· There must be space for the provision of separate facilities for girls (and room for future expansion of these facilities) either on the site or on a nearby site (within a short walking distance)

· There should be space for separate recreation areas for boys and girls and it should be possible to enclose the girls’ recreation area

Services

· Schools must have a reliable source of drinking water and electricity supplies

3. Selection of Schools
When the School Mapping Directorate has reviewed the existing situation in all secondary schools in the country and produced a short-list of schools that meet the above criteria and could be included in the proposed project, the Project Design Directorate should then prepare preliminary cost estimates for each school on the short-list for: 

· the renovation or replacement of existing facilities

· the addition of new facilities to bring the school up to the required standards and to provide additional separate facilities for girls

In order to reduce the number of facilities to be constructed at individual schools and thus reduce construction and running costs, the use of double-shifts should be considered i.e. one shift in the morning and one shift in the afternoon.  

Separate facilities for girls could be provided in a number of ways: additional general classrooms could be provided for girls separate to the boys’ classrooms with boys and girls using specialised facilities such as laboratories at different times; or a form of double-shifting could be used with girls (and possibly some boys) using the school in the morning and boys (or the remaining boys’ classes) using the school in the afternoon.  If the girls and one class of boys used the school in the morning there would still however have to be separate classrooms for boys and girls though the numbers would not be as large as if there were complete separation of boys and girls in morning and afternoons.

Consideration should also be given, in those schools in those districts where it is thought to be workable, for the construction of small girls’ dormitories to cater for girls living in remote areas who could not otherwise attend secondary schools and cost estimates for these dormitories should be prepared.

When these preliminary cost estimates have been prepared, it will be possible to establish the number of schools that can be renovated, replaced and extended within the proposed budget for the project and a preliminary list of schools to be included in the project can be prepared.

4. Preparation for the Construction Component of the Project
Having established a preliminary list of schools to be included in the project, detailed proposals will have to be prepared for each school.

Each school will have to be surveyed and drawings will have to be prepared showing: 

· the area of the site, site levels, existing buildings (including any that will have to be demolished), any existing roads, paths and walls, existing storm drains, existing services and any areas to be used for extension and future expansion

· plans, elevations and sections of any existing buildings that can be renovated

· A schedule of work for renovating existing buildings

· details of any new buildings (classrooms, laboratories, IT rooms, etc) required to bring the school up to the required standard and provide the necessary separate accommodation for girls (bearing in mind the comments on double-shifting above)

Detailed costings can then be prepared for each school and a final list of schools to be included in the project can be established.  

As the construction component of the project will take place over a period of four years (the fifth year should be reserved for the defects liability period for the last schools to be constructed, final payments, final reports, etc) the cost estimates must include factors to cover inflation in construction costs over four years and to cover unforeseen contingencies.

A construction programme will then have to be prepared by the Project Design Directorate showing the schools to be constructed in the first, second, third and fourth years of the project.  No new construction should start in the fifth year of the project.
Annex 4:
Strategies for Maximising the Use of Secondary School Facilities

Introduction
The Republic of Yemen is currently suffering a severe shortage of secondary school places particularly for girls.  There is a further problem in that many of the existing secondary schools require minor or even major renovations and the addition of extra facilities.    

It is important therefore that the use of all existing schools and any schools that it is proposed to replace, renovate or extend under the proposed World Bank Girls’ Education Project is maximised in order to make it possible to include as many schools as possible in the project and to make the best use of limited resources.

In this context, there would appear to be two ways of maximising the use of both existing and any proposed new or renovated schools: 

· by rotating the use of all teaching spaces (even of some specialised rooms such as laboratories) that is by using all teaching spaces for teaching any subject and thus fully utilising them

· by using schools for both morning and afternoon shifts i.e. double-shifting them

The use of these options and their effect on the design and provision of secondary school facilities are discussed below.

Rotation of Teaching Spaces
To make the most effective use of teaching spaces, it should be possible to use them for the teaching of any subject.  However, in most of the school designs reviewed (see Annex 1), there seems to be provision in general classrooms for teaching all subjects with the additional provision of spaces such as multipurpose rooms, laboratories, home economics rooms, language rooms, etc.  This means that in most cases there is an over-provision of teaching spaces and therefore a waste of resources.

In Annex 2, which contains preliminary proposals for revised standards for teaching spaces, it is recommended that multipurpose rooms are replaced by large classrooms that can be used for general teaching purposes (i.e. rotated) as well as for specific activities such as for teaching languages or for activities that require more space than that provided in standard classrooms such as practical work, role-playing, drama, etc depending on the timetable.

It is also recommended that laboratories are much more flexible in their layout and furnishing and that they also can be used for general teaching purposes instead of just for practical science lessons.  This is particularly important at present as there very few practical lessons and if the laboratories are not used for other purposes then they will stand idle for much of the time which will again be a waste of resources.

The only room that it might not be possible to rotate because of its fixed layout would be the Home Economics Room if constructed as proposed in Annex 2.  Even this however could be used for lessons in food and nutrition theory for instance.

The rotation of classrooms with the effect of maximising the use of teaching spaces is fairly simple in single-sex schools.  However, if the intention is to maximise the use of facilities such as laboratories, libraries and administration facilities and to maximise the use of qualified staff by combining the teaching of boys and girls in rural schools where secondary school age populations are fairly low, then the rotation of classrooms becomes more problematic.

This is because of the necessity of separating facilities for boys and girls in order not to upset the sensibilities of parents and girls and encourage more girls to attend secondary schools.

Boys and girls facilities will have to be physically separated either on the same site or on adjacent sites.  It will still be possible to share facilities such as laboratories, libraries (they will be used at different times) and administration rooms and if there are several entry-streams of boys it will be possible to rotate the use of their teaching rooms.  However, if there is only one entry-stream of girls (say 40 students) and the school offers both science and arts subjects in Grades 11 and 12 then there will have to be an over-provision of teaching spaces in order to cover all subjects on the curriculum and rotation will be difficult or impossible.

In these cases it will probably be better to consider double-shifting the use of the school (see below).

Double-Shifts
Double-shifting means the use of a school in both morning and afternoon for either different Grades of the same school or even for two different schools.  Sometimes, usually in the first case, the same staff teach both shifts or more usually in the second case, different teaching and administration staff teach and work in the afternoons.

There are a number of problems associated with the use of double-shifts especially in hot tropical countries and these are that in the afternoons it is much hotter than in the mornings and it is therefore more difficult for students (and staff) to work and concentrate.  There is also the problem of whether staff who teach both in the mornings and afternoons are paid more than those who only work in the mornings!

It must be recognised however that the use of double-shifts makes much more use of scarce resources and has much to recommend it and with careful design and most importantly location and orientation of the buildings, the worst effects of the hot climate can be mitigated.

As stated above, double-shifting can be achieved in a variety of ways.  In the case of a mixed sex school where girls must be kept physically away from boys, girls could attend school in the mornings and boys in the afternoons. 

However where there are relatively fewer girls than boys this could be very inefficient in the use of teaching facilities and it might be better to have girls plus Grade 10 boys in the morning (but in separate facilities on the site) and Grades 11 and 12 boys occupying the whole school in the afternoon.  Some examples of this are given below.  Calculations for numbers of classrooms are based on those in Annex 1: Attachment 1.

1: 3-Stream Entry Secondary School: 1 Stream Girls and 2 Streams Boys
Assumptions: both boys and girls are taught science and arts subjects in Grades 11 and 12.

General Classrooms required: Boys

Numbers required: 5

General Classrooms required: Girls
Numbers required: 5

Therefore in this case double-shifting could consist of girls in the morning (all grades) and boys in the afternoon (all grades) and only 5 classrooms would be required (one of them being a large classroom) plus a laboratory, an IT room, a library and possibly a home economics room for girls.  There would be a saving therefore of 5 classrooms if double-shifts rather than single shifts are used.

2: 4-Stream Entry Secondary School: 1 Stream Girls and 3 Streams Boys
Assumptions: both boys and girls are taught science and arts subjects in Grades 11 and 12.

General Classrooms required: Boys

Numbers required: 8

General Classrooms required: Girls
Numbers required: 5

Therefore in this case double-shifting could consist of girls in the morning (all grades) and Grade 10 boys in separate (and separated) classrooms and Grade 11 and 12 boys in the afternoon.  10 classrooms in two separate groups would be required (two of them being large classrooms) plus a laboratory, an IT room, a library and possibly a home economics room for girls.  There would be a saving therefore of 3 classrooms if double-shifts rather than single shifts are used.

3: 6-Stream Entry Secondary School: 2 Streams Girls and 4 Streams Boys
Assumptions: both boys and girls are taught science and arts subjects in Grades 11 and 12.

General Classrooms required: Boys

Numbers required: 8

General Classrooms required: Girls
Numbers required: 5

Therefore in this case double-shifting could again consist of girls in the morning (all grades) and Grade 10 boys in separate (and separated) classrooms and Grade 11 and 12 boys in the afternoon.  8 classrooms in two separate groups would be required (two of them being large classrooms), 5 classrooms for girls and 3 classrooms for boys, plus a laboratory, an IT room, a library and possibly a home economics room for girls.  There would be a saving therefore of 5 classrooms if double-shifts rather than single shifts are used.

Conclusions
It can be seen therefore that both the rotation of classrooms and the use of double-shifts will enable savings to be made in the number of facilities (and therefore in the cost of construction) at all schools and that the use of double-shifts especially can help to make quite large cost-savings.

Annex 5: Secondary School Construction Costs

Introduction
Meetings were held with engineers in the Project Design Directorate who provided estimates for the latest construction costs for secondary schools and the cost estimates below are based on these.

Construction Costs
Construction costs for secondary schools in Sana’a are at present estimated as follows:

· General teaching and administration spaces 

and circulation spaces:

R40/45,000m² (US$201/226m²)

Laboratories, IT rooms, 

Home Economics rooms, toilets:
R60/65,000m² (US$301/327m²)

These prices are for single-storey buildings and multi-storey buildings could cost a little less.  Site works (paths, roads, drains, walls, gates, etc) would cost approximately 15/20% of the total building cost.

The breakdown of construction costs is as follows: 

· Local materials: 40%

· Labour: 30%

· Imported materials: 20%

· Contingencies: 10%

The contractor’s profit margin is usually in the region of 15/20%.

These costs are, as stated above for Sana’a but urban centres in the Governorates would be similar.  Costs in the district centres would be between 5% and 40% higher depending on their location, transport links, etc.

The inflation rate for construction is at present running at between 10%/15% and this will have to be added to any present day cost estimates to cover increases in construction costs due to inflation in the following years.

School Construction Costs
Estimates of the present day cost of construction of the three secondary schools given as examples in Annex 4, all utilising double shifts are given below.

These estimates are based on the following sizes of rooms:

· General classroom: 53.35m² net

· Large classroom: 75.60m² net

· Laboratory: 75.60m² net

· IT classroom: 75.60m² net

· Home Economics classroom: 75.60m² net

· Library/1: 53.35m² net

· Library/2: 75.60m² net

· Administration (principal, deputy principal, secretary and teachers): 154m² net

The estimates also include 10% of the area of the rooms for the area of internal and external walls and 30% of the area of the rooms for circulation space.

Toilets are allowed for in the ratio of 1 toilet to 40 boys and 1 toilet to 35 girls plus 1 male teacher’s toilet and 1 female teacher’s toilet.

The estimates do not include the costs of any furniture and fittings apart from the fixed benches to side walls shown on the drawings in large classrooms and laboratories in Annex 2.  No shelving or fittings for the libraries are included.

1: 3-Stream Entry Secondary School: 1 Stream Girls and 2 Streams Boys
General classrooms: 4 x 53.35m²:
213.40

Large classrooms: 1 x 75.60

  75.60

Library: 1 x 53.35m²



  53.35

Administration: 1 x 154m²


154.00
Total:





496.35

Walls at 10%:



  49.64

Circulation at 30%:



148.90
Total for classrooms, etc:


694.90 x R45,000
R31,270,500

Laboratory: 1 x 75.60m²


  75.60

Home Economics room: 1 x 75.60m²
  75.60

Toilets: 5 x 3m²:



  15.00

Total for laboratories, etc


166.20 x R65,000
R10,803,000

Walls at 10%:



  16.62

Circulation at 30%:



  49.86
Total for walls and circulation:

  66.48 x R45,000
R  2,991,600

Total for construction:





R45,065,100

Site works at 20%:






R  9,013,020

Contingencies at 10%:





R  4,506,510

Grand Total (Sana’a rates):R58,584,630/US$294,395
2: 4-Stream Entry Secondary School: 1 Stream Girls and 3 Streams Boys
General classrooms: 10 x 53.35m²:
533.50

Large classrooms: 2 x 75.60

151.20

Library: 1 x 53.35m²



  53.35

Administration: 1 x 154m²


154.00
Total:





892.05

Walls at 10%:



  89.21

Circulation at 30%:



267.62

Total for classrooms, etc:

        1,248.88 x R45,000
R56,199,600

Laboratory: 1 x 75.60m²


  75.60

Home Economics room: 1 x 75.60m²
  75.60

Toilets: 6 x 3m²:



  18.00
Total for laboratories, etc


169.20 x R65,000
R10,998,000

Walls at 10%:



  16.92

Circulation at 30%:



  50.76
Total for walls and circulation:

  67.68 x R45,000
R  3,045,600

Total for construction:





R70,243,200

Site works at 20%:






R14,048,640

Contingencies at 10%:





R  7,024,320

Grand Total (Sana’a rates): R91,316,160/US$458,875
3: 6-Stream Entry Secondary School: 2 Streams Girls and 4 Streams Boys
General classrooms: 8 x 53.35m²:
426.80

Large classrooms: 2 x 75.60

151.20

Library: 1 x 53.35m²



  53.35

Administration: 1 x 154m²


154.00
Total:





785.35

Walls at 10%:



  78.54

Circulation at 30%:



235.61
Total for classrooms, etc:

        1,099.50 x R45,000
R49,477,500

Laboratory: 1 x 75.60m²


  75.60

Home Economics room: 1 x 75.60m²
  75.60

Toilets: 8 x 3m²:



  24.00
Total for laboratories, etc


175.20 x R65,000
R11,388,000

Walls at 10%:



  17.52

Circulation at 30%:



  52.56

Total for walls and circulation:

  70.08 x R45,000
R  3,153,600

Total for construction:





R64,019,100

Site works at 20%:






R12,803,820

Contingencies at 10%:





R  6,401,910

Grand Total (Sana’a rates): R83,224,830/US$418,215
Annex 6:
Consultant’s Terms of Reference

Technical Assistance: 

Prepare Project Component on Physical Inputs to Improve Access to

Secondary Girls’ Education in the Republic of  Yemen

Reference:  PHRD for the preparation of the Girls’ Secondary Education Project TF055138)

Background

Beginning in early 2005, with support from the World Bank, the Ministry developed its Secondary Education Development Strategy to address a number of challenges facing the sector. The Strategy identifies priority measures to be taken towards its stated objectives: expanding access with equity and equilibrium and improving completion rates of secondary education; improving the quality and relevance of secondary education; and improving the efficiency of secondary education at central, local and school levels. The strategy document was endorsed by the Cabinet in December 2006. The government’s recently approved Third Five-Year Plan includes measures for the education sector fully consistent with the Ministry’s strategy for secondary education.

Substantial work has already been accomplished. In 2004 and 2005, the GoY held a series of workshops to reveal the perceptions of stakeholders on the key issues and priorities related to secondary education. Relevant quantitative information has been compiled in databases. In addition, the following has been accomplished:

· Preparation of a background report on the current situation of secondary education in the country, a review of relevant international experience, and review of GoY’s educational development plan; 

· Preparation of a strategic framework for the development of secondary education, and adaptation of the financial simulation AnPro Model (developed originally by UNESCO) for use in Yemen’s education sector;

· Preparation of a sector work paper, “Issues and Options for Secondary Education in Yemen;”

· Development of the Secondary Education Project Preparation Team (SEPPT); and,

· Finalization of the Secondary Education Strategy for the period 2007-2015.  

The proposed development objective of the proposed Girls’ Secondary Education Project (GSEP) is to: “reduce the gender gap in secondary education while laying the basis for related improvements in the quality, relevance and efficiency of secondary schooling.” The government’s current strategy for secondary education addresses the need to increase access for girls and develop more diverse, relevant and cost effective curriculum options. In order to support the implementation of the proposed strategy, in particular with reference to the forthcoming preparation of the proposed Girls’ Secondary Education Project (GSEP), specific activities are required. 

Current Situation

The Ministry of Education (MOE) has received a PHRD Grant from the Japanese Government through the World Bank towards the cost of the preparation of the Girls Secondary Education Project. The Ministry seeks consultants with international experience in the areas of project preparation, education project management, and strategies to assist the Ministry in this process. The selected consultant will provide advice as to the appropriate and cost effective interventions in this area, the best institutional arrangement for supporting the interventions, and the roles of the MOE, governorates, and districts in supporting the proposed activities. The work of this component will complement on-going initiatives in basic education with selected interventions at the secondary level. Measures under consideration include new school construction, renovation, rehabilitation, and addition to existing buildings.  The TA should also work closely with the TA to design girls’ incentive mechanism to ensure that access-enhancing interventions and policies are most appropriate to encouraging girls’ enrolment and retention in schools.

Objective

Assess current state of secondary school mapping, school design prototypes, and planning for physical inputs to enhance girls’ enrolment in Yemen and provide the Ministry of Education with recommendations on priority interventions and preparation of project component at the secondary level. 

	Activity/Output 

Working directly with the Project Sector and other relevant groups, the Consultant will:


	Estimated Duration/ Level of Effort in days
	Deliverable

	1. a) Review all relevant documents and correspondence related to the specifics of basic and secondary education plans, projects, and results as they relate to school mapping and planning for school construction. 
	3
	Literature review

	1. b) Prepare a Tentative Work Plan based upon these Terms of Reference, the review of relevant documents, and correspondence with the Project Administration Unit (PAU). 
	2
	Tentative Work Plan 

	2. Review the Tentative Work Plan upon arrival in Yemen with the counterpart team, Project and Maintenance Sector, the SEPPT, and the PAU and prepare Revised Work Plan based on these discussions. 
	1
	Revised Work Plan

	3. Assess the current state of the secondary school map. The assessment should determine usability for creating a project proposal for physical inputs for enhancing girls’ enrolment.  
	5
	Analysis of school map  

	4. Assess the current state of secondary school design prototypes or build on ideas for such prototypes. The resulting analysis should include cost effectiveness, opportunity, constraint, risk, success, and feasibility in relationship to potential changes to curriculum and programs and the attendant changes to school physical plants including laboratories, multipurpose rooms, libraries, ICT configurations.  
	10
	Reports

	5. Conduct workshops on current international best practice in construction, renovation, and addition in increasing girls’ participation in secondary education.  Workshops will be planned and delivered using a team approach and will be experiential, activity based, explorative in nature, and focussed on practical application of principles. Workshops should be delivered to MOE staff in the Technical Office and Project and Maintenance Sector. 
	10
	Workshops, presentations, and/or seminars

Package of resource materials including presentations, work sheets, etc. 

	6. Work with SEPPT, Project and Maintenance Sector, Technical Office, and PAU to prepare a set of specific recommendations for project design, including policy for effective use of existing classroom space (e.g., rotation, double shifting, public-private partnership, busing, etc.), and specific interventions to be financed under the project including policy on new construction, rehabilitation, extension, maintenance, as well as criteria for selection of school sites for these activities and linkages with existing work on-going with several agencies in basic education.  
	14
	Recommendations 

	7. Based on review and approval of recommendations, work with Technical Office, Project and Maintenance Sector and PAU to prepare a detailed implementation plan including specific schools and locations, cost, timelines, schedule, TA, monitoring and evaluation strategies, and processes to be followed.
	10
	Project plan

	8. Develop a series of progress reports and a summary report containing recommendations for strategies to be utilized in the expansion and improvement of the managerial and operational capacity of the Sector for submission to the Ministry of Education.
	5
	An Interim Report and Final Report 

	TOTAL
	60 days
	


Summary of Deliverables:
	Deliverable
	Suggested Timeframe

	1. Literature review and Tentative Work Plan 
	April 1- April 7

	2. Revised Work Plan reflecting input from the SEPPT, the TO, the Project and Maintenance Sector, and the PAU upon arrival
	April 7-11

	3. Assessment of the secondary school map. 
	April 7-28

	4. Assessment of secondary prototypes
	April 7-28

	5. Interim Report due prior to the Secondary Education Dialogue mission (early May 2007). The Consultant is required to make a presentation to the Govt. and Bank team on preliminary outcomes of the study.
	May 3

	6. Conduct workshops 
	April 28-May 16

	7. Recommendations
	May 16-31

	8. Detailed implementation plan
	June 1-15

	9. Final Consultant Report due prior to Project Preparation mission (early July 2007). The consultant is required to undertake a joint presentation with the Govt. to the World Bank team on outcomes of the study and proposed component design.
	June 30


Working Arrangements

The Consultant will be assigned a counterpart individual/team that will act as day-to-day liaison for the consultancy and will provide services such as data gathering, interpretation, review of materials, etc. 

The Consultant will be provided with suitable working arrangements by the Ministry of Education including workspace, local telephone, and access to printing and photocopying. The Consultant will be expected to work in the MOE offices within the regular working hours of 8:00-3:00 Saturday to Wednesday. Meetings, conferences, workshops, etc and the requirement to produce work within a specific time period may require work or attendance outside of the worksite. The Consultant is responsible for providing his/her own portable computer, mobile phone, and internet access. Transportation and translation are the responsibility of the Consultant, although the Ministry may provide transportation to specific events. Secretarial support will be provided by the PAU. 

Reporting

The work will be performed in collaboration with the staff of the Project and Maintenance Sector (PMS). Day to day liaison and monitoring will be done by the PMS counterpart individual or team. The PAU PHRD Technical Coordinator will be responsible for supervising the consultancy. The Consultant will report through the PAU to the SEPPT.

The deliverables identified above will be delivered to the PAU PHRD Technical Coordinator for approval and distribution. The Interim and Final Reports must receive initial approval from the SEPPT. 

Qualifications

Educational Background
The Consultant will possess at least a degree in architecture or an equivalent combination of credentials, knowledge, skills and abilities related to construction, building, and project management in the education area. 

Professional Experience

· At least 10 years experience in construction in education in developing countries

· Relevant experience with development project involvement and management will have been at a school system, ministry of education and/or national/international levels

· Extensive experience in drafting/preparing project materials for international agencies and governments, especially experience with World Bank-financed projects would be a plus.

· Understanding and appreciation of the issues in the education sector in Yemen or other countries in the region

Language Requirements

The Consultant will possess excellent written and verbal skills in English. Preferred candidates will be bilingual in Arabic and English.

Duration and Terms of the Contract

The expected start date for this consultancy is April 2007. The level of effort will be for 60 working days over a duration of three months, linked closely to the World Bank-financed Girls Secondary Education Project processing schedule. The actual start date will be determined by the availability of the Consultant and local conditions such as school or national holidays, or other circumstances. 


1

PAGE  

